July 28, 2010

The Honorable Bob Ferguson

Chair, King County Council

Room 1200

C O U R T H O U S E

Dear Councilmember Ferguson:

Enclosed for King County Council consideration is an ordinance approving the City of Auburn (City) Comprehensive Sewer Plan (Plan), September 2009.  Approval of the Plan is required under King County Code (K.C.C.) chapter 13.24 as a prerequisite to granting county right-of-way franchises and construction permits.  The Utilities Technical Review Committee (UTRC) recommends approval of the Plan as meeting the requirements of Washington state law and the K.C.C.  Approval of the Plan is also required under K.C.C. chapter 28.84 as the City is a component agency of the regional system.

The principal operational issue in the Plan, aside from extending service to small areas without sewer service, is inflow and infiltration into the City’s facilities during rain events.  The City is cooperating with the county to investigate the origins and magnitude of those flows from different portions of its service area, using a multiyear series of tests and metering of wastewater flows in the City’s system.  The City anticipates working with the county to develop a strategy for reducing those flows as part of the regional infiltration and inflow program.

By approval of this Plan, the service area of the City will be changed to add a small area near the southwest corner of the City and outside the City proper, the Jovita Heights area.  The existing franchise will have to be amended to cover this new area.

On September 17, 2009, the City issued a Determination of Nonsignificance for the Plan in accordance with the State Environmental Policy Act.  There were no appeals.

An enclosed matrix provides additional information regarding the City’s compliance with K.C.C. requirements and consistency with the King County Comprehensive Plan.

I appreciate the City’s cooperation in submitting the Plan and working with the UTRC review process.  If you have any questions about the Plan or the proposed ordinance, please feel free to contact Steve Hirschey, Chair of the UTRC, at 206-205-0817.

I urge the council to adopt the enclosed ordinance approving the City’s Plan.

Sincerely,

Dow Constantine

King County Executive

Enclosures

cc:	King County Councilmembers

ATTN:  Tom Bristow, Chief of Staff

Anne Noris, Clerk of the Council

Bob Elwell, Sewer Utility Engineer, City of Auburn

Dwight Dively, Director, Office of Management and Budget and Office of Strategic 
    Planning and Performance Management

Christie True, Director Designee, Department of Natural Resources and Parks

Steve Hirschey, Chair, Utilities Technical Review Committee