April 21, 2009

The Honorable Dow Constantine

Chair, King County Council

Room 1200

C O U R T H O U S E

Dear Councilmember Constantine:

Enclosed for King County Council consideration is an ordinance approving the City of Pacific’s (City) 2008 Water System Plan (Plan).  King County Code (KCC) 13.24.010 and the Revised Code of Washington (RCW) 70.116.050 require approval of plans for water utilities distributing or obtaining water in unincorporated King County.  Approval of the Plan will provide state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

The Washington State Department of Health (DOH) and King County regulations require that water system plans be periodically updated.  This letter, and attached matrix, describes the results of the county’s review of the Plan and affirms that the Plan meets King County requirements.

The Plan was reviewed by the Utilities Technical Review Committee (UTRC), which recommends approval of the Plan.

City of Pacific

The City was incorporated in 1909 and purchased its water system from the Inter-County Water Company in 1953.  The City has made major improvements to the system since the purchase, including expansion of the service area.  The City’s service area is located in the southwestern part of King County and the northernmost part of Pierce County.  Since incorporation, the City has grown to cover approximately 1,587 acres, 421 of which are in Pierce County.  The City’s service area is consistent with the 1989 South King County Coordinated Water System Plan (CWSP).

In 2006, the water system served approximately 1,355 residential services, 105 multifamily accounts, 156 commercial accounts, and six supplemental accounts, for an estimated 2,447 equivalent residential units (ERUs).  The projected number of connections for the water service area in 2027 is 2,055 residential services, 1,369 multifamily accounts, 186 commercial accounts, and six supplemental accounts, for an estimated 3,745 ERUs.

The Plan contains a six-year (short-term) capital improvement program (CIP) with the cost estimated to be $8,597,700.  The City proposes to fund the CIP projects with the usual funding resources such as rates, general facilities charges, various grant and low-interest loan programs, and general obligation and revenue bonds.  Total income for water for the City in 2006 was $1,140,636.

# Plan Summary

Service Area

The City’s service area includes most of the area encompassed by the City proper.  One area in the western part of the City is served by the Lakehaven Utility District.  The Plan makes no specific mention of any other systems within the City’s retail water service area that are not connected to the City’s main distribution system.  The City does not allow any private water sources to be connected to the City’s distribution system.  The City, likewise, does not permit Satellite Management Systems to operate within its service area.

Water Use Efficiency

Numerous state statutes, KCC 13.28, and the King County Comprehensive Plan, require efficient water use.  Water use efficiency applies to both supply and demand management.  The City’s distribution system loss averaged nine percent over the last two years, and the City recognizes the state standard of ten percent and has set continuing to meet that standard as part of its conservation program.

All of the water used by the City comes from three groundwater wells that constitute a well-field located in the adjacent City of Algona.  The City can augment its supplies through interties with the cities of Algona, Auburn, and Sumner, although those interties are currently only for emergency purposes.

Daily average water consumption for the system in 2006 was approximately 0.60 million gallons per day.  The City’s average water use per ERU was 255 gallons per day (gpd) based on 2005-2006 water production data.  The City proposes to reduce its production by five percent by the year 2012 and another 5 percent by the year 2027 using the 255 gpd per ERU as the base.

The City’s current conservation program satisfies the program requirements established in 1994 as required by law.  The City is collecting data on water usage, so it is positioned to move into the next phase of water conservation and efficiency.  The Plan outlines a number of recommendations that the City should begin to implement to enable it to comply with the Water Use Efficiency Rule adopted by DOH.

Reclaimed Water and Regional Planning
The City collects its own wastewater and is a part of the King County regional wastewater treatment system.  The City considered the use of reclaimed water in its Plan.  Unfortunately, there are not any potential customers within the City at this time.  The City completed the Water Reclamation Checklist as part of its Plan.

The City has participated in a number of regional water management efforts, including the development of the South King County CWSP.  The City has not been pa

0rticipating in the development of the Puyallup-White River Watershed (WRIA 10) Management Plan, but does not plan to conduct any activities that are contrary to that plan.

Ground Water Management
The City has a Wellhead Protection Plan for its well-field that was included in the City’s 1988 Water System Plan.  The City’s Wellhead Protection Plan has been updated to reflect changes to the City’s water system that have occurred since then, primarily the addition of a new well to the City’s well-field.  The well-field is located adjacent to privately owned and commercially developed properties, so the City is acutely aware of the potential for ground water contamination.  For those portions of the Wellhead Protection Plan that overlap unincorporated King County, that land area will be incorporated into the critical areas ordinance and critical aquifer recharge areas.

# SEPA

# The City completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, issued a determination of non-significance for the issuance of the Plan on 
March 3, 2008.

An enclosed matrix provides additional information regarding the City's compliance with KCC requirements and consistency with the King County Comprehensive Plan.  If you have any questions about the Plan or the proposed ordinance, please feel free to contact Stephen Hirschey, Chair of the UTRC, at 206-205-0817.

I appreciate the City's cooperation in submitting the Plan and working with the UTRC review process, and I urge the Council to adopt the enclosed ordinance approving the City's Plan.

Sincerely,

# Ron Sims

King County Executive

Enclosures

cc:	King County Councilmembers

ATTN:  Tom Bristow, Interim Chief of Staff

Saroja Reddy, Policy Staff Director

Anne Noris, Clerk of the Council

Frank Abe, Communications Director

Bob Cowan, Director, Office of Management and Budget

Richard Rodriguez, Regional Planner, Washington State Department of Health

James J. Morgan, P.E., City Engineer, City of Pacific

Theresa Jennings, Director, Department of Natural Resources and Parks 
Steve Hirschey, Chair, Utilities Technical Review Committee