# Review of the Shoreline Water District # Water System Plan Update 2011, Revised May 2013

Service Area The Shoreline Water District (District) is located in the northwestern part of King County and provides water service to incorporated areas of the cities of Shoreline and Lake Forest Park. The service area consists primarily of single-family residences. The District was formed in 1931 under the name of King County Water District No. 42 and subsequently changed its name to the Shoreline Water District in 1992. In 2012, the District provided service to a population of 22,400, with approximately 7,497 single-family connections, 1,818 multi-family connections and 926 commercial connections within its service area. The District’s service area corresponds with that identified in the East King County Coordinated Water System Plan (CWSP). The District provides wholesale water to Fircrest School, which is a state-operated facility, and has its own public water system. The District also has an intertie for emergency supplies from the City of Mountlake Terrace. Water Use Efficiency Water used by the District is purchased from Seattle Public Utilities and delivered through its Tolt River Transmission Main. The annual average day demand (water consumed) for 2010 was approximately 1.80 million gallons per day (mgd), with maximum day demand at 3.95 mgd. The District’s average water use per equivalent residential unit (ERU) was 171 gallons per day (gpd). In 1998, the average daily demand per ERU was 203 gal/day compared to 171 gal/day/ERU in 2010, or a 16 percent reduction. The District’s proposed efficiency goals are to participate with other utilities in the Saving Water Partnership which has set a regional conservation target of 15 mgd cumulative annual average savings form 2011- 2030. The District is in substantial compliance with the Washington State Department of Health’s Water Use Efficiency Rule. Capital Improvement Program The Shoreline Water District Water System Plan Update 2011, Revised May 2013 (Plan) contains a six-year capital improvement program with an estimated cost of approximately $18.4 million. The District proposes to fund the capital projects with typical resources such as water sales, facilities charges, developer financing, various grant and low-interest loan programs, and general obligation and revenue bonds. Operating revenue in 2011 was $5,318,945 with same year expenses of $4,495,645. Reclaimed Water and Regional Planning The District neither collects nor treats wastewater. The District evaluated reclaimed water as required by statue, but did not identify any opportunities for the use of reclaimed water. It also has participated in regional efforts, including the development of the East King County CWSP. The District is also a member of the Washington State Association of Sewer and Water Districts. - SEPA - The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, issued a determination of non-significance for the issuance of the Plan on December 13, 2011.

| A review of the specific statutes, rules, codes, and policies to the water system plan is as follows: |  |  |
| --- | --- | --- |
|  | A. General and water and sewer plan: King County Code 13.24.010; 13.28 | Comments/findings |
| (1) | - Review is applicable to utilities that obtain or distribute water in unincorporated King County under King County Code (KCC) 13.24. - Is there a need to meet the consistency requirements of Revised Code of Washington (RCW) 43.20.260? | - Yes, the Plan is subject to King County Council approval under Title 57 RCW, and chapter 70.116 RCW. The District provides water service within the area covered by the East King County Coordinated Water System Plan (CWSP). - The District also needs to demonstrate consistency for the Plan under RCW 43.20.260. |
| (2) | - Consistency with King County Comprehensive Plan (KCCP) and development regulations, and policies including KCC 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | - Yes, the Plan is consistent. |
| (3) | - Infrastructure for existing and future service areas based on adopted land use map. | - Yes. The District used adopted land use maps for its service area. |
| (4) | - Review proposals for modified or expanded service areas based on compliance with utility’s approved plan, and ability to meet duty to serve requirement. | - The District’s service area is as identified in the East King County CWSP. The service area is unique and includes parts of the cities of Shoreline and Lake Forest Park. - The service area has not changed recently and is not expected to change. |
| (5) | - Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | - Yes, the Plan demonstrates an ability to provide service consistent with applicable statutes, codes and regulations. The District obtains its water from Seattle Public Utilities (SPU) through its Tolt River Distribution Main. |
| (6) | - Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved comprehensive water system plan. | - The District’s conservation program meets minimum state requirements. |
|  | B. Consistency requirements: 13.24.060 |  |
| (7) | - State and local health requirements. | - Yes. |
| (8) | - Creation and maintenance of logical service areas. | - Yes, the service area is logical. |
| (9) | - Elimination or prevention of duplicate facilities. | - Yes. |
| (10) | - Promotion of most healthful and reliable services to the public. | - Yes. Water purveyed by the District complies with public health standards. The water is chlorinated and fluoridated. |
| (11) | - Provision of service at a reasonable cost, and maximization of use of public facilities. | - Yes, the District’s rates for water service are comparable to the rates charged by similar utilities. |
| (12) | - KCCP and other pertinent County adopted plans and policies. | - Yes, there is consistency between the District’s Plan and the KCCP. |
| (13) | - Basin-wide or multi-basin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (Ecology) or Department of Health (DOH). | - No multi-basin water plans are applicable. |
| (14) | - Applicable state water quality, water conservation, and waste management standards. | - Yes, applicable water quality standards are met. - The three-year rolling average distribution system leakage is estimated at 3.5 percent, which is well above the ten percent requirement established under the Municipal Water Law. |
| (15) | - Water Resources Act (RCW 90.54). | - The District’s conservation program meets the minimum legal requirements. The District will maintain its existing conservation (efficiency) program to comply with DOH’s Water Use Efficiency Rule. - There is no evaluation of the cost effectiveness of the conservation program. |
| (16) | - Growth Management Act (GMA) (RCW 36.70A). | - Yes, the District affirms it can meet the population target policies from the Growth Management Planning Council for the two cities served. - The six-year portion of the Capital Improvement Program (CIP) identifies any public money the District may need for capital facilities. |
| (17) | - Groundwater management plans. | - Not applicable. The District receives all of its water supply from SPU. |
| (18) | - Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | - Not applicable. |
| (19) | - Requirements for salmon recovery under Ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | - The District participates in salmon recovery processes in King County under the framework of chapter 77.85 RCW. |
| (20) | - Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | - The Plan and supplemental information include the reclaimed water information as required by chapter 90.46 RCW. |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (21) | G-4: Adopt comprehensive plans that are consistent with the Countywide Planning Policies as required by the Growth Management Act. | - Yes, the plan is consistent with the Countywide Planning Policies. |
| (22) | EN-19: Promote energy efficiency, conservation methods and sustainable energy sources to support climate change reduction goals. | - Not addressed in the Plan. |
| (23) | DP-13: All jurisdictions shall plan to accommodate housing and employment targets. This includes coordinating water, sewer, transportation and other infrastructure plans and investments among agencies, including special purpose districts. | - The District is planning to accommodate housing and employment targets for the two cities that overlay its service area. |
| (24) | PF-2: Coordinate among jurisdictions and service providers to provide reliable and cost effective services to the public. | - Yes, the District’s water supply is regionally coordinated. |
| (25) | PF-4: Develop plans for long‐term water provision to support growth and to address the potential impacts of climate change on regional water resources. | - The District’s conservation program meets minimum state requirements. - The water loss control plan meets minimum legal requirements. |
| (26) | PF-7: Plan and locate water systems in the Rural Area that are appropriate for rural uses and densities and do not increase the development potential of the Rural Area. | - Not applicable as the District serves no rural areas. |
| (27) | PF-8: Recognize and support agreements with water purveyors in adjacent cities and counties to promote effective conveyance of water supplies and to secure adequate supplies for emergencies. | - The District has agreements in place with adjacent purveyors to promote effective use of supplies and emergency use. |
| (28) | PF-9: Implement water conservation and efficiency efforts to protect natural resources, reduce environmental impacts, and support a sustainable long‐term water supply to serve the growing population. | - The District’s conservation program meets minimum state requirements. |
| (29) | PF-10: Encourage water reuse and reclamation, especially for high‐volume non‐potable water users such as parks, schools, and golf courses. | - The Plan and supplemental information include the reclaimed water information as required by chapter 90.46 RCW. |
|  | D: King County Comprehensive Plan |  |
| (30) | F-107: With special purpose districts or local service providers, plan for provision of services to rural areas. | - Not applicable as the District does not provide service in the rural area. |
| (31) | F-108: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | - Yes, the CIP is consistent with the KCCP. |
| (32) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the Endangered Species Act and the Clean Water Act. | - Yes, to the extent applicable, the services provided are in compliance with provisions and requirements of the Endangered Species Act and the Clean Water Act. |
| (33) | F-209: In the Rural Area, services provided by agencies should support a rural level of development and not facilitate urbanization. | - Not applicable. |
| (34) | F-210: capital facility plans and capital improvement programs for services to unincorporated King County are consistent with the KCCP. | - Not applicable. |
| (35) | F-211: King County helps coordinate development of utility facilities with other projects that utilize public rights-of-way and easements, where possible. | - Yes, the County will do this where possible. |
| (36) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | - Not applicable as the District is able to meet service needs within service area. |
| (37) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies. | - Not applicable. |
| (38) | F-231: King County supports coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse and reclaimed water programs. | - Yes, the District’s supply is regionally coordinated as when it purchases its water from SPU. The District took part in the development of the East King County CWSP. Also, apart from its agreement with SPU for its main water supply, the District has an agreement with a neighboring community (Mountlake Terrace) for emergency supplies. |
| (39) | F-232: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the County for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service area. | - The District is a special purpose district under Title 57 RCW and has described its policies for and how it will meet its duty to provide service within its service area. |
| (40) | F-246: King County supports interties that allow the transfer of water resources among water utilities to meet the projected demands for growth where such interties meet the requirements of RCW 90.03.383 and are also consistent with any applicable locally adopted comprehensive plans, regional water supply plans, adopted groundwater management plans, watershed plans, approved Coordinated Water System Plans, Endangered Species Act response requirements and Clean Water Act requirements. | - Yes, the District has interties with neighboring utilities. |
| (41) | F-249: Utilities with more than one thousand service connections required to submit water system plans for approval to King County shall include an evaluation of reclaimed water use opportunities by completing King County’s Water Reclamation Evaluation Checklist. | - The District completed King County’s Water Reclamation Evaluation Checklist. |
| (42) | F-251: In its review of water system plans, the Utilities Technical Review Committee (UTRC) shall consider the criteria provided in K.C.C. 13.24.010, 13.24.060, and 13.24.070, and determine the plan’s consistency with the following: a. Applicable provisions of the King County Comprehensive Plan, land use plans, and development regulations adopted under the Growth Management Act; b. Approved or adopted regional water resource plans, such as basin plans, groundwater plans, watershed-based conservation and recovery plans developed under ESA, salmon recovery plans developed under chapter 77.85 RCW, water resource plans developed under chapter 90.54 RCW, watershed plans developed under chapter 90.82 RCW, and a regional water supply plan or water resource management plan; c. The County’s Regional Wastewater Services Plan; and d. Other applicable provisions of countywide plans managed by King County, as specified in UTRC guidance or checklists. | - The UTRC considered the criteria and recommended plan approval. |
| (43) | F-252: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, the UTRC shall consider, in addition to Policy F-251: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under Chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in King County Code Chapter 13.28. | - Not applicable as the service area is not proposed to be changed. |
| (44) | F-253: Consistent with Countywide Planning Policies, public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds must be managed to protect downstream fish and agriculture resources. | - Not applicable. |
| (45) | F-254: Groundwater-based public water supplies should be protected by preventing land uses that may adversely affect groundwater quality or quantity to the extent that the supply might be jeopardized. The County shall protect the quality and quantity of groundwater used as water supplies through implementation of Policies E-493 through E-497 where applicable. | - Not applicable. |