## STAFF REPORT

| Agenda Item: | 8 | Name: | Leah Krekel-Zoppi |
| --- | --- | --- | --- |
| Proposed No.: | 2015-0482 | Date: | December 1, 2015 |

SUBJECT

An ordinance approving the City of Snoqualmie General Sewer/Wastewater Facility Plan.

SUMMARY

Proposed Ordinance 2015-0482 would approve the City of Snoqualmie’s General Sewer/Wastewater Facility Plan, meeting the requirement for a water and sewer district to operate in unincorporated King County.

BACKGROUND

The City of Snoqualmie owns and operates a wastewater system that serves the City and two small areas in unincorporated King County.

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee (UTRC) to review and make recommendations to the Executive and County Council on the adequacy of all  water and sewer comprehensive plans and related matters, and to determine whether the plan:

- is consistent with the King County Comprehensive Plan,

- is consistent with local comprehensive plans,

- reflects current supply and demand,

- forecasts future supply and demand,

- provides a capital plan for obtaining, using, storing and conveying water and sewage, and

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of KCC Chapter 13.24, the County's approval also provides state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

King County Comprehensive Plan wastewater policies F-214, and F-255 through F-264 call for consistency with other adopted plans, pursuit of reclaimed water, and protection of water resources.

UTRC ANALYSIS OF Snoqualmie’s General Sewer/Wastewater Facility Plan

The UTRC finalized its review of the Plan on August 19, 2015.  The UTRC found the Plan meets the requirements of KCC chapter 13.24 and has recommended its approval.  Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area:  Snoqualmie’s service area is approximately 4,162 acres located in the western foothills of the Cascade Mountains, approximately 25 miles east of Seattle in central King County bordered by the Snoqualmie River, unincorporated King County, and the City of North Bend. The wastewater system currently serves a population of approximately 11,039 people.

Facilities:  Snoqualmie’s wastewater system includes 14 pump stations, approximately 43 miles of gravity sewer pipes, and a water reclamation facility that is capable of producing reuse quality effluent and Class A biosolids.

System Improvements:  Snoqualmie’s Capital Improvement Plan identifies facilities and a funding strategy to ensure that it will meet anticipated demands.

SEPA:  Snoqualmie completed a State Environmental Policy Act (SEPA) checklist for the Plan and issued a determination of non-significance for the Plan on February 11, 2013. There were no appeals.

ATTACHMENTS

- Proposed Ordinance 2015-0482 (and its attachments)

- Transmittal Letter

- Fiscal Note