## STAFF REPORT

| Agenda Item: | 6 | Name: | Erin Auzins |
| --- | --- | --- | --- |
| Proposed No.: | 2025-0134 | Date: | June 18, 2025 |

SUBJECT

An ordinance approving the City of Auburn 2024 Comprehensive  Sewer Plan Update.

SUMMARY

Proposed Ordinance 2025-0134 would approve the City of Auburn 2024 Comprehensive  Sewer Plan Update dated November 2024 (Plan), meeting the requirement for a wastewater utility to provide sewer service in unincorporated King County.

BACKGROUND

The City of Auburn is located south-central King County. The system serves the majority of the City, small "islands" of unincorporated urban King County, an area of unincorporated King County west of the City, and a small area of the City of Pacific north of the White River. The Plan states that the City provided sewer service to approximately 13,417 residential customers in 2023. The City's last wastewater plan was approved in 2016 by Ordinance 18304.

King County Utility Comprehensive Plan Criteria. King County Code (K.C.C.) Chapter 13.24 requires the Utilities Technical Review Committee (UTRC) to review and make recommendations to the Executive and County Council on the adequacy of all water and sewer comprehensive plans and related matters, and to determine whether the Plan:

- is consistent with the King County Comprehensive Plan,

- is consistent with local comprehensive plans,

- reflects current supply and demand,

- forecasts future supply and demand,

- provides a capital plan for obtaining, using, storing and conveying water and sewage, and

- provides sufficient information to demonstrate the utility district's ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of K.C.C. Chapter 13.24, the County's approval also provides state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

Additionally, King County has adopted a Comprehensive Plan that includes policies that address water and wastewater policies for facilities and services, calling for consistency with other adopted plans, pursuit of reclaimed water, water conservation, and provision of sewer and wastewater services.

UTRC ANALYSIS OF CITY OF AUBURN 2024 COMPREHENSIVE Sewer Plan dated NOVEMBER 2024

The UTRC finalized its review of the Plan in February 2025 (see Attachment 2 to this staff report for a more detailed description of the UTRC review). The UTRC found that the Plan meets the requirements of K.C.C. Chapter 13.24 and has recommended its approval. Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area: The City of Auburn's sewer service area includes the majority of the City, small "islands" of unincorporated urban King County, an area of unincorporated King County west of the City, and a small area of the City of Pacific north of the White River. Portions of the service area in the northern portion of the Lea Hill, western portion of West Hill, and eastern portion of South Hill sewer basin areas currently being served by on-site septic systems.

Facilities: The sewer system includes 13,417 residential customers and commercial customers that equates to 19,980 residential customer equivalents. The City's sewer system infrastructure includes 210 miles of sewer lines, 17 pump stations, and 5,500 maintenance holes. The City does not maintain wastewater treatment or disposal facilities. Wastewater from the City's connection system is conveyed to the King County Regional Wastewater System for treatment and disposal through the King County South Treatment Plant located in the City of Renton.

Growth: The Plan is consistent with the Washington State Growth Management Act and the King County Comprehensive Plan as it limits service to within the designated urban area and incorporates future growth projections consistent with King County's adopted growth targets.

System Improvements: The Plan identifies approximately $59 million in capital facility projects in the 20-year capital improvement plan, and address system improvements, pump station replacements, condition assessments, maintenance, inflow and infiltration monitoring, and capacity imprvoements. Capital projects are expected to be funded through cash resources.

SEPA: The City completed SEPA review for the Plan in August 2024.

INVITED

- Dan Cardwell, Principal Planner, Permitting Division, Department of Local Services

ATTACHMENTS

- Proposed Ordinance 2025-0134 and its attachment

- UTRC Matrix - Review of City of Auburn 2024 Comprehensive Sewer Plan,  November 2024

- Transmittal Letter

- Fiscal Note