UTRC Review of the Woodinville Water District 2008 Comprehensive Water System Plan

The Woodinville Water District (District) was originally formed in 1959 as District No. 104 and changed its name in 1985. Service Area The District is located in northwest King County in an area north of the City of Redmond, east of the City of Bothell, and west of the City of Duvall, twenty miles northeast of the City of Seattle. The water service area includes approximately 29.5 square miles and generally extends west to east approximately from Interstate Highway 405 to 232nd Avenue NE, and north to south from the Snohomish County border to NE 124th Street. The water service area includes unincorporated King County, and the cities of Woodinville, Bothell, Redmond, and Kirkland. As of 2006, the District served over 13,700 connections, including approximately 42,300 residents and 15,500 employees located within the commercial business area. Water Use Efficiency The District obtains all its water from Seattle Public Utilities (SPU). Additionally, the District maintains emergency interties with the cities of Bothell and Redmond, Northshore Utility District and the Cross Valley Water District. Water use within the District averaged approximately 245 gallons per day (gpd), per equivalent residential unit (ERU) from 2004-2006 and by the year 2030 is anticipated to reach 247 gpd per ERU. The District is currently in compliance with the Washington State Department of Health’s (DOH) Water Use Efficiency Rule. The Plan contains an ambitious six-year capital improvement plan with the cost estimated to be approximately $24.7 million. The District identified several funding sources for the proposed improvement projects: developer extensions, rates, general facility charges, system development charges, and grants and/or loans. Total water revenue for the District in 2008 was $9,934,371. Reclaimed Water and Regional Planning The District supports the concept of water reuse where appropriate and cost effective. The opportunity for reuse is currently limited by the cost to construct new infrastructure, but with the Brightwater Treatment Facility scheduled to begin operation soon, the District is supportive of King County’s desire to install reuse connections within the District’s service area. SEPA The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, re-issued a determination of non-significance for the issuance of the Plan on October 8, 2008. There was no appeal.

|  | A. General and water and sewer plan: King County Code 13.24.010; 13.28 | Comments/findings |
| --- | --- | --- |
| (1) | Review is applicable to special purpose districts organized under Title 57 Revised Code of Washington (RCW). Is there a need to meet the consistency requirements of RCW 43.20.260? | Yes, the Woodinville Water District’s 2008 Comprehensive Water System Plan (Plan) is subject to King County Council approval under Title 57 RCW. The DOH also needs to demonstrate consistency for the Plan under RCW 43.20.260. The District self-certified consistency with the Cities of Bothell, Redmond, and Woodinville. The City of Kirkland affirmed consistency between its comprehensive plan and the plan of the District. |
| (2) | Consistency with King County Comprehensive Plan and Development regulations, and policies including King County Code (KCC) 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | Yes, the District’s 2008 Plan is consistent. |
| (3) | Infrastructure for existing and future service areas based on adopted land use map. | Yes. The District used adopted land use maps. The service area is in the Cities of Woodinville (19 percent of the service area), Kirkland (less than one percent), Redmond (less than one percent), Bothell (one percent) and unincorporated King County (80 percent of the service area). |
| (4) | Review proposals for modified or expanded service areas based on compliance with utility’s approved plan, and ability to meet duty to serve requirement. | The service area is well defined. The retail service area is the same as the corporate boundary, therefore, there are no plans for expanding the service area at this time. The District maintains duty to serve policies for its retail service area. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates an ability to provide service consistent with applicable statutes, codes and regulations. The District obtains its water from SPU. The average yearly demand for 2004-2006 was 3.0 million gallons per day (mgd). The projected yearly demand in 2030 is approximately 5.4 mgd with conservation and 5.7 mgd without conservation. |

| (6) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved Coordinated Water System Plan (CWSP). | Service area boundaries of the District are designated in the East King County CWSP. The District endorses and participates in conservation programs through the Saving Water Partnership with SPU. The District’s conservation plan identifies conservation activities the District has implemented or is currently administering, most of which have been identified by the DOH and Washington State Department of Ecology in the State’s “Conservation Planning Requirements” from 1994. KCC 13.28 relates to the CWSP and conservation goals. For purveyors within the East King County CWSP the code called for a 6.5 percent per capita reduction in water use from 1990 – 1995 and a reduction of eight percent between 1990- 2000. The District achieved a 14.3 percent reduction in per capita water use from 1990 – 1995. From 1995 to 2000 there was a ten percent decrease in per capita consumption. The CWSP does not have conservation goals identified after the year 2000; however the District has continued to incrementally reduce its annual average per capita consumption. |
| --- | --- | --- |
|  | B. Consistency requirements: 13.24.060 |  |
| (7) | State and local health requirements. | Yes. |
| (8) | Creation and maintenance of logical service areas. | Yes, the service area is logical. |
| (9) | Elimination or prevention of duplicate facilities. | Yes. The District intends to provide service within its service area by means of direct connection. The District supports the concept of satellite management and may provide satellite management services on a case by case basis. The District maintains emergency interties with the Cities of Redmond and Bothell, the Northshore Utility District and the Cross Valley Water District. |
| (10) | Promotion of most healthful and reliable services to the public. | Yes. Water purveyed by the District complies with public health standards. The hydraulic analysis of the District’s system shows there are design flow deficiencies due to pressure constraints and existing water main sizes. These areas are targeted for improvements in the capital improvement program (CIP). The District’s water distribution system has sufficient capacity to meet the requirements of the District through 2030. |
| (11) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Yes, the District’s rates for water service are comparable to the rates charged by similar utilities. The District has adopted a graduated rate structure to encourage efficiency of water use. |
| (12) | King County Comprehensive Plan and other pertinent county adopted plans and policies. | Yes, there is consistency between the District’s Plan and the King County Comprehensive Plan. |
| (13) | Basin-wide or multibasin water plans, sewerage plans, or both when approved by the DOE or DOH. | The District has not been involved in multibasin water plans, although it does take part in SPU initiatives. The District provides sanitary sewer service. The Plan is consistent with the East King County CWSP. |
| (14) | Applicable state water quality, water conservation, and waste management standards. | Yes, applicable standards are met. The District purchases all of its water directly from SPU; responsibilities for water quality monitoring are shared by SPU and the District. The District’s water use per equivalent residential unit (ERU) from 2004-2006 was 245 gallons per day, excluding system leakage. Since 2000 the District’s unaccounted for water has averaged under six percent of total water consumption. This is below the ten percent requirement established under the Municipal Water Law. The District is committed to staying below the ten percent standard. |
| (15) | Water Resources Act (RCW 90.54). | The Plan makes no connection with the requirements of RCW 90.54.180 or RCW 90.03.386. The District intends to maintain its existing conservation program while complying with DOH’s Water Use Efficiency Rule. |
| (16) | Growth Management Act (GMA) (RCW 36.70A). | The District’s customized demand forecast for future service to the City of Woodinville projects 15 percent fewer households than the City’s adopted household target for the next twenty years. The District’s demand forecast for the rural area was based on historical growth rate multiplied by existing number of households and projected forward. There is no allocated number of households for the rural area served by the District within the work of the Growth Management Planning Council. In talking with the District, if future demand for water within the City of Woodinville is 15 percent higher than anticipated, the District will simply contract for more water from SPU. The District foresees no problem meeting future demand. |
| (17) | Ground water management plans. | The District currently owns and maintains an emergency standby well to be used as an alternate source of water in the event of a natural disaster. |
| (18) | Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | The District receives wholesale water from SPU and that water is withdrawn and used consistent with an approved Habitat Conservation Plan. |
| (19) | Requirements for salmon recovery under Ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | Not applicable. |
| (20) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW and CO-7. | The District supports the concept of water reuse by its customers where appropriate and cost effective. The opportunity for reuse is currently limited by the cost to construct new infrastructure, but with the Brightwater Treatment Facility scheduled to begin operation soon, the District is supportive of King County’s desire to install reuse connections within the District’s service area. |
|  | C. King County Comprehensive Plan—consistency with provisions and specific policies (Water System Plan) |  |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (21) | FW-5: management of resources for multiple beneficial uses, including flood and erosion hazard reduction. | Not applicable. |
| (22) | FW-12(c): ensure sufficient water supply for growth and fish habitat needs through long-term planning. | Sufficient water supply for projected growth is available. See number 18 for linkage to fish habitat needs. |
| (23) | CA-5, CA-6, and E-434 and policies to protect quantity and quality of ground water. | Not applicable. The District does not use ground water. |
| (24) | CO-5: water supply shall be regionally coordinated. | Yes, the District’s supply is regionally coordinated, since it purchases its water from SPU. Most of the District is in unincorporated, rural, King County. The District’s Plan is consistent with the East King County CWSP. |
| (25) | CO-6: aggressive conservation efforts shall be implemented. | The District has a conservation program in place which meets the minimum state requirements. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (26) | F-102: King County will provide or manage countywide services, which include wastewater, water resource management, surface water management, flood warning and floodplain management, protection and preservation of natural resource lands. | Yes, for that portion of the service area that is in unincorporated King County. For the unincorporated area, King County implements the CWSP and policies on provision of water/sewer in partnership with the District. |
| (27) | F-104: plan for provision of services to rural areas. | The Urban Growth Area boundary straddles the District, therefore, water service is provided in both rural and urban areas. |
| (28) | F-105: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | Yes. |
| (29) | F-201: all facilities and services should be provided in compliance with provisions and requirements of the ESA. | See number 18. |
| (30) | F-202: ensure adequate supply of public facilities to support communities. | Yes, the District has sufficient water supplies and has arrangements for emergency supply from the Cities of Redmond, Bothell, the Northshore Utility District, and Cross Valley Water District. |
| (31) | F-203: King County will work with cities, special purpose districts, and other service providers to define regional and local services and determine appropriate providers. | Yes. There are a large number of residential units within the service area in rural King County that do not obtain water from the District. There is one Group A system; 49 Group B systems; and 174 wells serving individual homes. The District can operate satellite systems within it service area and understands that existing ground water users within their service area may hook-up to the District over time. |
| (32) | F-208: support rural levels of development and not facilitate urbanization. | The District provides service in both rural and urban areas. |
| (33) | F-209 and F-212: capital facility plans and improvement programs for services to unincorporated King County are consistent with the King County Comprehensive Plan. | Yes, the CIP is consistent with the King County Comprehensive Plan. |
| (34) | F-210: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (35) | F-215: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (36) | F-217: where an area-wide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | No area-wide water deficiency is identified. |
| (37) | F-225: King County supports coordination of regional water supply planning, sales of excess water among municipalities, water quality programs, and water conservation and reuse programs. | The District has agreements with its neighboring utilities for purchases of water for both primary supply (SPU) and on an emergency basis (City of Redmond, Cross Valley Water District, Northshore Utility District, and the City of Bothell). |
| (38) | F-226: Group A water systems must meet duty to serve requirement within service area as defined under CWSP or by individual water system plans. | Yes, the District is committed to meeting its duty to serve for the retail service area. The District acknowledges there are a lot of existing users of other sources that may hook up to the District in the future (see #31). |
| (39) | F-227-231: provides a hierarchy of water supply providers in unincorporated King County, depending on whether within UGA or rural areas, with preference for providing water from existing suppliers. | The District recognizes its duty to serve within its retail service area and is committed to providing service by direct connection. The District supports the concept of satellite management and may provide satellite management services on a case by case basis. |
| (40) | F-237: King County supports the use of interties consistent with planning, and implementation of approved ESA and Clean Water Act response requirements. | The District is supplied through connection to SPU’s distribution system. The District also has emergency interties with the cities of Redmond and Bothell, the Northshore Utility District, and Cross Valley Water District. |
| (41) | F-239: King County partners with utilities to encourage best management practices and conservation through such means as developing reclaimed water, aggressive water conservation and reuse measures; support planned land uses with reliable service at minimum cost; encourage reclaimed water use, focused on large water users such as golf courses and cemeteries. | King County is willing to work with the District on these issues, particularly the evaluation of reclaimed water opportunities. |
| (42) | F-240: Utilities Technical Review Committee (UTRC) to consider (a) consistency with land use plans and development regulations; (b) approved or adopted plans for ground water, ESA, salmon recovery, water resources, watershed planning, regional water supply plan; and (c) the Regional Wastewater Services Plan. | The UTRC did consider the given issues and recommends approval of the Plan. |
| (43) | F-241: in reviewing proposals for modified and expanded service area boundaries, the UTRC must include an evaluation of the utility’s compliance with its comprehensive water system plan, including water conservation elements, and whether it can meet its duty to provide service; no approval of service area where unable to provide service for reasons in RCW 43.20.260. | The District is not proposing to alter its service area boundaries at this time. |
| (44) | F-243: public drinking water system reservoirs and watersheds should be managed primarily to protect drinking water supplies, but allow multiple uses when not jeopardizing water quality; downstream uses including recreation, fish, and agricultural resources. | The District has water storage in eight reservoirs which provide adequate storage throughout the District’s service area. There is no opportunity or desire for multiple use. |
| (45) | F-244: ground water supplies should be protected by preventing land uses that may adversely affect quantity or quality. | Not applicable. The District gets all of its water from SPU. |