Metropolitan King County Council

Physical Environment Committee

# STAFF REPORT

| AGENDA ITEM: | 5 | DATE: | June 9, 2009 |
| --- | --- | --- | --- |
| PROPOSED NO.: | 2009-0286 | PREPARED BY: | Marilyn Cope |

SUBJECT	Proposed Ordinance 2009-0286 would approve the Highline Water District’s (the “District”) 2008 Comprehensive Water System Plan (the “Plan”).

SUMMARY

Council approval of water utility comprehensive plans is required by County Code as a prerequisite for: operating in unincorporated King County, granting right of way construction permits, granting new or renewed franchises, and service boundary annexations.

BACKGROUND

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee ("UTRC") to review and make recommendations to the Executive and County Council on the adequacy of all water system comprehensive plans and related matters, and to determine whether the plan:

- is consistent with local comprehensive plans;

- is consistent with the King County Comprehensive Plan;

- reflects current supply and demand;

- forecasts future supply and demand;

- provides a capital plan for obtaining, using, storing and conveying water and sewage;

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of King County Code Chapter 13.24, the County's approval of a plan also provides the determination for state regulatory agencies that a plan is consistent with the King County Comprehensive Plan and related policies and implementing development regulations.  See RCW 43.20.260.

UTRC ANALYSIS OF THE HIGHLINE WATER DISTRICT COMPREHENSIVE WATER SYSTEM PLAN

The UTRC reviewed the District's Water Plan and found to meet the requirements of King County Code Chapter 13.24 and recommended its approval in March, 2009.  Highlights of the Water Plan as reviewed by the UTRC are outlined below:

Service Area

The District’s service area is located south of Sea-Tac International Airport and runs generally along the ridge separating the eastern Puget Sound area from the Kent Valley.  The District does not anticipate any changes to its service area in the future.  Most of the District’s service area is single-family residential, with the area around Sea-Tac International Airport having more commercial and industrial land uses.  The District is not a Satellite System Management Agency but would consider a request to provide such services.

Water Use Efficiency

The District obtains the majority of its water from Seattle Public Utilities (“SPU”) and the rest from ground water wells.  District-owned facilities include three wells, nine reservoirs, and two treatment plants.  The District has six pumping stations, three of which deliver water from SPU, and three that boost water to higher pressure zones within the District.  Water is distributed through approximately 288 miles of mains ranging in diameter from 1½ inches to 30 inches.

Average daily water demand between 2002 and 2007 was approximately 6.5 million gallons per day.  Average water use per Equivalent Residential Unit (“ERU”) was 187 gallons per day (“gpd”) in 2006.  The District is projecting that, with conservation, water use will be reduced to 168 gpd per ERU by 2028.  The District’s lost and/or unaccounted for water has ranged from 10.24 percent in 2004 to 3.25 percent in 2006.  The average since 2000 is approximately 6.1 percent, which meets the requirements of the statute.

Reclaimed Water and Regional Planning

The District recognizes that reclaimed water can be used to extend limited drinking water supplies.  Within the Plan, the District identified a number of potential users for reclaimed water within its service area boundaries.  The District is committed to participating in regional planning for water supply development.  It was a participant in the development of the South King County Coordinated Water System Plan and, during that same time period, the South King County Ground Water Management Plan.  The District’s Plan is consistent with other applicable regional plans.

Capital Improvement Program

The Plan contains a seven-year capital improvement program (“CIP”) with an estimated cost of $37.59 million.  The CIP will be funded with accumulated cash, rate revenues, general facilities charges, local facilities charges, developer extensions, and outside resources such as grants and low-cost loans, bonds, and/or other outside funding sources.  Water revenues for 2008 were $13,594,762.

# SEPA

# The District completed a State Environmental Policy Act checklist for the Water Plan and, as lead agency, issued a determination of non-significance for the issuance of the Water Plan on December 17, 2008.

ATTACHMENTS

- Proposed Ordinance 2009-0286