Environment and Transportation Committee

## STAFF REPORT

| Agenda Item: | 5 | Name: | Mike Reed |
| --- | --- | --- | --- |
| Proposed No.: | 2010-0432 | Date: | August 31, 2010 |

SUBJECT

Proposed Ordinance 2010-0432 would approve the Midway Sewer District’s 2008 Comprehensive Sewer System Plan (“Plan”).

SUMMARY

Council approval of wastewater utility comprehensive plans is required by County code as a prerequisite for: operating in unincorporated King County, granting right of way construction permits, granting new or renewed franchises, and service boundary annexations.

COUNCIL PRIORITIES

Proposed Ordinance 2010-0432 furthers the Council’s Environmental Sustainability Priority by providing support for water quality through effective management of wastewater.

BACKGROUND

King County Utility Comprehensive Plan Criteria

King County Code chapter 13.24 requires the Utilities Technical Review Committee ("UTRC") to review and make recommendations to the Executive and County Council on the adequacy of all wastewater system comprehensive plans and related matters, and to determine whether the plan:

- is consistent with local comprehensive plans;

- is consistent with the King County Comprehensive Plan;

- reflects current supply and demand;

- forecasts future supply and demand;

- provides a capital plan for obtaining, using, storing and conveying water and sewage;

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of King County Code chapter 13.24, the County's approval of a plan also provides the determination for state regulatory agencies that a plan is consistent with the King County Comprehensive Plan and related policies and implementing development regulations.  See RCW 43.20.260.

UTRC ANALYSIS OF THE MIDWAY SEWER DISTRICT’S 2008 COMPREHENSIVE SEWER SYSTEM PLAN

The UTRC reviewed the Plan in May of 2010, and found it to meet the requirements of King County Code chapter 13.24 and recommended its approval.  Highlights of the Plan as reviewed by the UTRC are outlined below:

Service Area  The Midway Sewer District serves about ten square miles of land in south King County, generally bounded by Puget Sound and 8th Avenue South to the west, SeaTac Airport to the north near South 188th Street and South 176th Street, Interstate 5 to the east, and South 276th Street to the south.  The District includes the majority of the City of Des Moines and the southern portion of the City of SeaTac.  The District also provides service to small areas of Burien, Kent, Normandy Park, and Federal Way, as well as unincorporated King County.  Domestic flows from the SeaTac International Airport, located in the northern portion of the District’s service area, are directed to District facilities.  A portion of the District’s service area lies within unincorporated King County as well as within the cities of Des Moines, SeaTac, Burien, Kent, Normandy Park, and Federal Way.

Facilities  The Midway Sewer District maintains approximately 144 miles of sewer mains, including 136 miles of gravity mains from 6 inches to 48 inches in diameter, and six miles of force mains from two inches to 18 inches in diameter.  Also managed are two miles of 19-inch industrial waste system mains.  The District has approximately one mile of outfall and 13 pump stations.  There were 7,822 direct service connections to the Midway system in 2006, including 6,785 residential, 1,011 commercial, 16 schools, six retirement homes, four municipal connections and one connection to the Port of Seattle.

Growth  The Plan reports a service area population of 47,000 persons within the service area, with an employment base of 13,800.  Those numbers are expected to increase to 48,900 persons by 2020, with employment increasing to 15,200.  The northwest portion of the District is currently unsewered.  The District has planned a project to provide 41,000 feet of sewer pipeline to the northwest area—the most expensive capital project anticipated, at a cost of over $18,000,000.

System Improvements  The Capital Improvement Plan identifies twenty separate projects, including several intended to address infiltration and inflow needs.  These include an Infiltration/Inflow control program for the North Sylvia Pines area to reduce flows and increase capacity, an infiltration/inflow control program for the South Sylvia Pines area, and an Infiltration and Inflow Control Program, intended to identify problems and rehabilitate systems as needed.

SEPA  On December 11, 2008, the City issued a Determination of Non-significance for the Plan in accordance with the State Environmental Policy Act.  The Plan has been reviewed and approved by the state Department of Ecology.

ATTACHMENTS

- Proposed Ordinance 2010-0432, with the attached Midway Sewer District 2008 Comprehensive Sewer System Plan