# Water Plan Review Matrix # City of Auburn # Water Comprehensive Plan, July 2025

Service Area The City of Auburn is located in south-central King County. The City’s Retail Water Service Area (RSA) is approximately 30 square miles in size and includes property within unincorporated King County. The City's RSA is located within the South King County Coordinated Water System Plan (SKCCWSP) coverage area. Water System The City’s water system includes: - Approximately 300 miles of transmission and distribution pipes; - Two springs, 10 wells, and an intertie with the City of Tacoma; - Eight reservoirs; - Eight treatment facilities; and - 11 pump/booster pump stations. The City’s water source comes from Coal Creek Springs, West Hill Springs, 10 wells, and an emergency intertie with Tacoma Water. Four of the wells are currently not in service. The water system, as of the end of 2022, provided water service to 63,450 customers through 15,046 connections. The category of single-family residences uses the most amount of water, followed by multi-family residential and commercial customers. Water Use Efficiency Between 2017 and 2022, the City reduced its average water use from 112 to 105 gallons per person per day, resulting in a total savings of approximately 148 million gallons or nearly 30 million gallons annually. The City has set clear goals to continue improving water efficiency. The City has set a goal of reducing the average daily water use per household by one percent each year from its current level of 182 gallons. The City also aims to lower peak water demand – typically seen during high-use periods – from a factor of 1.77 to 1.68 or less. This is in addition to keeping the distribution system leakages (DSL) below 10 percent on a three-year average. The City’s Water Use Efficiency (WUE) Program provides a comprehensive approach to reducing water loss and promoting responsible water use throughout the community. It includes both supply-side and demand-side strategies. Supply-side efforts focus on improving system operations through meter installation and calibration, leak detection surveys, water audits, and a water loss control plan triggered if DSL exceeds 10 percent. The City also educates customers on conservation practices and evaluates options like efficiency-based rate structures and water reclamation. Distribution System Leakages (DSL) In 2022, the water system’s DSL was 7.4 percent, while the 3-year rolling average was 6.7 percent. This three-year rolling average is below the State’s 10 percent rolling average threshold that would require the City to develop an action plan. System Deficiencies or Capacity Limitations The City’s water supply capacity analysis indicates that it has the necessary water supply to meet future demand projections. Additionally, the City’s water rights self-assessment concluded that existing water rights are adequate to meet future demand projections; however, the City does not currently have the infrastructure necessary to withdraw from all its water rights. The results of the storage analysis indicate that there is sufficient capacity to meet the projected 2024 and 2034 storage requirements; beginning in 2044, additional storage is projected to be necessary. An individual fire flow analysis was performed for each hydrant to determine the available fire flow during maximum day demand (MDD) plus fire flow conditions, while maintaining a minimum residual pressure of 20 psi; the results indicate multiple areas of the water system having fire flow deficiencies. The Plan includes proposed projects to address the identified deficiencies. Capital Improvement Plan (CIP) & Financial Analysis The CIP includes approximately $215 million of work through the 20-year planning period of 2024-2044. Category; Total CIP Cost Summary (2024 – 2044). Water Supply Improvement; $ 60,416,013. Storage Improvements; $ 21,579,621. Pump Station Improvements; $ 9,230,000. Distribution System Improvements; $121,858,681. General; $ 1,750,000. Total; $214,834,315. The Financial Program includes pursuing grants and low-cost loans, in addition to revenue bond financing. It also indicates that the City will need to increase its rates to meet its forecasted financial needs. The City has adopted a 7.5 percent increase for 2025. It anticipates an increase of 9.5 percent annually from 2026 through 2030, and then a three percent annual increase from 2031 through 2033. The Financial Program provides an analysis on the affordability of the City’s water and the City’s existing rates and those projected to 2033 are found to be affordable. The analysis utilized an affordability index to prioritize low-cost loan awards used by the Washington State Departments of Health and Commerce. Reclaimed Water and Regional Planning The City participates in the King County reclaimed water program, which completed a Reclaimed Water Comprehensive Plan in 2012. The City considers the irrigation customer as the most likely user of reclaimed water. As the City’s sewer is conveyed to a King County treatment facility, there is not an opportunity for the City to provide reclaimed water. The City will pursue opportunities to provide reclaimed water when opportunities are presented, and it will consider participating in water reuse projects and programs provided by neighboring purveyors as appropriate. Plan Adoption by the City # The City approved the Plan through Ordinance No. 6980 on July 21, 2025, prior to submission to the County for approval. # SEPA # The City completed a State Environmental Policy Act checklist and subsequently issued a Determination of Nonsignificance on October 8, 2024; there were no appeals.

| A review of the specific statutes, rules, codes and policies to the water system plan is as follows: |  |  |
| --- | --- | --- |
| A. General water plan, King County Code (KCC) 13.24.010 and chapter 13.28 |  | Comments/Findings |
| (1) | Review is applicable to water utilities distributing or obtaining water in unincorporated King County, and/or utilities that are special purpose districts created pursuant to Title 57 Revised Code of Washington (RCW). Is there a need to meet the consistency requirements of RCW 43.20.260? | - The City’s service area includes an area in unincorporated King County. - The Washington State Department of Health (DOH) requires demonstration of consistency for the Plan under RCW 43.20.260. |
| (2) | Consistency with King County Comprehensive Plan (KCCP) and development regulations, and policies including KCC 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | - The Plan is consistent. |
| (3) | Infrastructure for existing and future service areas based on adopted land use map. | - The Plan demonstrates an ability to provide service consistent with appliable statutes, codes, rules, and regulations. - The City’s water supplies are sufficient to meet projected demand within the 20-year planning period. |
| (4) | Review proposals for modified or expanded service areas based on compliance with utility's approved plan and ability to meet duty to serve requirement. | - The City is not proposing any modification to its RSA. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | - The Plan demonstrates an ability to provide service consistent with applicable statutes, codes, rules, and regulations. - The City’s water supplies are sufficient to meet projected annual demand. - The Plan provides detailed information on the operational and preventative maintenance activities that demonstrates the City’s ability to provide service consistent with applicable provisions. |
| (6) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved Coordinated Water System Plan (CWSP). | - The City’s RSA is within the South King County Coordinated Water System Plan. - The City has adopted water use efficiency goals and is taking actions to meet them through education and capital facility planning. |
| B. Consistency requirements: KCC 13.24.060 |  | Comments/Findings |
| (7) | State and local health requirements. | - The water purveyor meets State and local health requirements per reporting in the SENTRY system. |
| (8) | Creation and maintenance of logical service areas. | - The service area boundary is logical, encompassing the majority of the municipal boundary and some contiguous area outside of the municipal boundary. |
| (9) | Elimination or prevention of duplicate facilities. | - The City maintains wholesale water supply interties with three neighboring systems: Tacoma, Algona, and the Lake Meridian Water District. - The City has a supply contract with the Muckleshoot Indian Tribe, and the Indian Health Service, dating from 1972, for services along a pipeline at SE 368th PL extending from the City limits into the reservation. - The City has established emergency interties with seven water systems: Algona, Bonney Lake, Kent, Pacific, Lakehaven Water and Sewer District, Lake Meridian Water District, and Tacoma. |
| (10) | Promotion of most healthful and reliable services to the public. | - Water purveyed by the City complies with DOH requirements. |
| (11) | Provision of service at a reasonable cost and maximization of use of public facilities. | - The Financial Program includes an affordability analysis which concluded the City’s rates are forecasted to remain within the indicated affordability range through 2033. |
| (12) | King County Comprehensive Plan and other pertinent County-adopted plans and policies. | - There is consistency between the City's Plan and the King County Comprehensive Plan. |
| (13) | Basin-wide or multi-basin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (Ecology) or Department of Health (DOH). | - The City’s latest wastewater system plan was approved by the County in July 2025. - The Plan references the South King County Coordinated Water System Plan and other related plans and agreements. |
| (14) | Applicable State water quality, water conservation, and waste management standards. | - Applicable standards are met. - In 2022, the water system’s DSL was 7.4 percent, while the three-year rolling average was 6.7 percent, below DOH's 10 percent threshold. |
| (15) | Water Resources Act (RCW 90.54). | - The City plans to continue and improve upon its existing conservation (efficiency) program in compliance with DOH’s Water Use Efficiency Rule. - The City has set a goal of reducing the average daily water use per household by one percent each year and lower peak water demand. - The City’s Water Use Efficiency (WUE) Program includes both supply-side and demand-side strategies. The strategies include, but are not limited to, meter installation and calibration, leak detection surveys, water audits, customer education, and evaluations of efficiency-based rate structures. |
| (16) | Growth Management Act (GMA) (RCW 36.70A). | - The Plan is consistent with the Growth Management Act. See #20 below. |
| (17) | Groundwater management plans. | - The Plan acknowledges the 2003 South King County Ground Water Management Plan (GWMP). |
| (18) | Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | - The Plan does not reference any habitat conservation plans. |
| (19) | Requirements for salmon recovery under Ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | - The Plan acknowledges the South King County CWSP, South King County Ground Water Management Plan, USGS Hydrogeologic Framework, Groundwater Movement, and Water Budget in the Puyallup River Watershed Report. |
| C: Countywide Planning Policies |  | Comments/findings |
| (20) | FW-5: Adopt comprehensive plans that are consistent with the Countywide Planning Policies (CPP) as required by the GMA. | - The Plan is consistent with the CPP. - The Plan utilizes Puget Sound Regional Council (PSRC) growth forecasts that are reflective of King County CPPs housing and employment targets. |
| (21) | DP-14: All jurisdictions shall accommodate housing and employment targets by ensuring water, sewer, transportation, and other infrastructure plans and investments among agencies, including special purpose districts, are consistent in location and timing with adopted targets as well as regional and countywide plans. | - The Plan utilizes PSRC growth forecasts that are reflective of King County CPPs housing and employment targets. |
| (22) | PF-3: Coordinate among jurisdictions and service providers to provide reliable and cost-effective services to the public. | - The City maintains wholesale water supply interties with three neighboring systems: Tacoma, Algona, and the Lake Meridian Water District. - The City has a supply contract with the Muckleshoot Indian Tribe, and the Indian Health Service, dating from 1972, for services along a pipeline at SE 368th PL extending from the City limits into the reservation. - The City has established emergency interties with seven water systems: Algona, Bonney Lake, Kent, Pacific, Lakehaven Water and Sewer District, Lake Meridian Water District, and Tacoma. |
| (23) | PF-5: Develop plans for long‐term water provision to support growth and to address the potential impacts of climate change on regional water resources. | - The increased water usage associated with population growth within the City’s RSA can be met using existing water supply sources, and wholesale water from Tacoma Water. - The Plan provides a general overview of impacts from climate change on water demand and supply and includes steps the City may take. |
| (24) | PF-8: Plan and locate water systems in the Rural Area that are appropriate for rural uses and densities and do not increase the development potential of the Rural Area. | - A very small portion of the City’s RSA is located in the Rural Area. The Plan has no influence on the allowed densities and does not increase development potential in the Rural Area. |
| (25) | PF-9: Recognize and support agreements with water purveyors in adjacent cities and counties to promote effective conveyance of water supplies and to secure adequate supplies for emergencies. | - The City has agreements with water purveyors for wholesale services and for an emergency water source. |
| (26) | PF-10: Implement water conservation and efficiency efforts to protect natural resources, reduce environmental impacts, and support a sustainable long‐term water supply to serve the growing population. | - The water conservation and efficiency efforts of the City meet the statutory minimum required (10 percent) by WAC Ch. 246-290. - In 2022, the water system’s DSL was 7.4 percent, while the three-year rolling average was 6.7 percent. |
| (27) | PF- 11: Encourage water reuse and reclamation, especially for high‐volume non‐potable water users such as parks, schools, and golf courses. | - The Plan states that the City is committed to wastewater reuse and rainwater reclamation; however, there currently are not any reclaimed water users. |

| D: King County Comprehensive Plan (KCCP) |  | Comments/findings |
| --- | --- | --- |
| (28) | F-306: If a service provider declares, in its capital facilities plan, an inability to meet service needs within service area, King County and the service provider shall remedy the deficiency through a joint planning process. | - Not applicable; the City did not identify an inability to meet service needs within its service area. |
| (29) | F-402: In the Rural Area, services provided by agencies shall support a rural level of development and not facilitate urbanization. | - A very small portion of the City’s RSA is located within the Rural Area. The Plan has no influence on the allowed densities and does not increase development potential in the Rural Area. |
| (30) | F-406: Capital facility plans and capital improvement programs prepared by all other agencies for services to unincorporated King County are consistent with the KC Comprehensive Plan. | - The modeling that identified potential capital improvements assumes the primary unincorporated area served by the City is built out in a manner consistent with the KCCP. |
| (31) | F 480: King County should support coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse and reclaimed water programs to support growth in the Urban Growth Area (UGA) and ensuring water availability for resource lands. | - The City has two active agreements to provide wholesale water, one with the City of Algona and the other with Lake Meridian Water District that is interruptible. - The City has an active agreement to receive wholesale water from the City of Tacoma. - The City also has a supply contract with the Muckleshoot Indian Tribe and the Indian Health Service, dating from 1972, for services along a pipeline at SE 368th PL extending from the City limits into the reservation. The City has emergency interties with seven water systems; Algona, Bonney Lake, Kent, Pacific, Lakehaven Water District, Lake Merdian Water Distric, and Tacoma. - The City is committed to continuing its water conservation efforts. |
| (32) | F-483: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the county for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service area. | - The City provides water to unincorporated areas. - The Plan demonstrates that the City can meet its duty to serve in the designated RSA. - The Plan addresses the process for dispute resolution related to timely and reasonable service with the City’s RSA. |
| (33) | F-494: Water system plans for large purveyors shall include an evaluation of recycled water use opportunities. | - The City has completed a King County Water Reclamation Evaluation Checklist. |
| (34) | F 497: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, as defined under Chapter 90.03 RCW, the UTRC shall consider: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in King County Code Chapter 13.28. | - Not applicable; the City is not changing its water service area. |
| (35) | F-498: King County shall not approve a water system plan with a proposed RSA where the water system is unable to provide timely and reasonable service for one or more of the reasons identified 43.20.260 RCW. | - The Plan addresses Duty to Serve and the local appeal process. - The City has sufficient water rights to provide the service. - The City has sufficient capacity to serve the water in a safe and reliable manner as determined by DOH. |
| (36) | F-499: Public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds are managed to protect downstream fish and agriculture resources. | - Not applicable; the City does not control any surface water reservoirs or watersheds. |
| (37) | F-500: Groundwater-based public water supplies should be protected by preventing land uses that may adversely affect groundwater quality or quantity to the extent that the supply might be jeopardized. The County shall protect the quality and quantity of groundwater used as water supplies through implementation of Policies E-445 through E-451 where applicable. | - The City has a Wellhead Protection Program. |