September 22, 2008

The Honorable Julia Patterson

Chair, King County Council

Room 1200

C O U R T H O U S E

Dear Councilmember Patterson:

Enclosed for King County Council consideration is an ordinance approving the King County Water District No. 90 (District) Comprehensive Water System Plan (Plan).  Title 57 Revised Code of Washington (RCW) and King County Code (K.C.C.) 13.24.010 require approval of plans for water utilities distributing or obtaining water in unincorporated King County.  Approval of the Plan will provide state regulatory agencies the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

The Plan was reviewed by the Utilities Technical Review Committee (UTRC) in December 2006, along with supplemental information received in April and May 2007, and June of 2008.  The UTRC recommends approval of the Plan.

King County last approved the District’s water plan in 1998.  The Washington State Department of Health (DOH) and King County regulations require that water system plans be updated every six years; update of this Plan took longer than anticipated.  This letter describes the results of the county’s review of certain priority elements of the Plan.  An enclosed matrix provides additional information on the county’s review of the Plan.

King County Water District No. 90

The District is a municipal corporation formed under Title 57 RCW to provide water service.  The District began providing water service within a five square mile area in 1952 and since then has grown to cover approximately 15 square miles and serves 6,609 accounts or 7,263 equivalent residential units (ERUs).  The water service area or retail service area is, with certain exceptions, the same as the service area described in the 1990 East King County Coordinated Water System Plan.  This Plan proposes adding a service area location in the northeast corner of the District that is not claimed by a purveyor.  The projected population for the water service areas in 2030 is 18,656 and full build out is 28,656 people.  Employment or employees within the service area were estimated at 1,577 in the year 2000 and 2,105 in the year 2030.

The Plan contains a 20-year capital improvement program (CIP) costing approximately $28,488,000 with the first six-year portion costing $10,489,000.  Capital improvement projects will be funded by rates, general facility charges, system development charges, and/or outside funding sources.  Total water sales in 2005 were $2,383,639, of which approximately 42 percent was paid to Seattle for wholesale water.

# Plan Summary

Service Area

The District operates in the central part of King County directly east of, and adjacent to, the city of Renton, and north of the Cedar River.  Approval of the Plan will change the service area and associated water rights pursuant to RCW 90.03.386(2).

Water Use Efficiency

Numerous statutes, K.C.C. 13.28, and the King County Comprehensive Plan, require efficient water use.  Water use efficiency applies to both supply and demand management.  For supply management, the District’s unaccounted for water has varied over time and meets state standards in this regard.

The District obtains 70 percent of its water from Seattle Public Utilities and 30 percent from its own well.  Approximately 83 percent of current total water use is by the residential sector with an ERU using 215 gallons per day (gpd).  Daily average water consumption for 2006 was approximately 1.74 million gallons per day (mgd).  Average water use for a single-family residence is currently approximately 199 gpd and has ranged from 217 to 182 gpd over the past six years.  These amounts are within recognized norms.

The District’s conservation program satisfies the minimum program requirements established in 1994 as required by law.  The District also participates in the Regional 1% Water Conservation Program as a contract requirement with the purchase of water from the Seattle system.

Reclaimed Water and Regional Planning
The District evaluated opportunities for reclaimed water use.  One park was identified as a potential reclaimed water user within the water service area.  However, the use of reclaimed water in the District does not appear feasible in the near term.

The District is committed to participating in regional planning and water supply development and has supported regional planning efforts related to the coordinated water system plan for East King County.  The District filed a statement of consistency completed by the city of Renton to indicate that the Plan is consistent with the city of Renton’s comprehensive plan and development regulations.

Groundwater Management
The District developed a groundwater source in 2002, including well infrastructure, water rights, and a wellhead protection program.  The District states that it protects and maintains the sustainable yield of the source aquifer to avoid permanently affecting the water table, quality, and related ecosystem.  The use of the District’s well is consistent with the East King County Ground Water Management Program.

# SEPA

# The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, issued a determination of non-significance for the issuance of the Plan on 
April 12, 2006.

An enclosed matrix provides additional information regarding the District's compliance with King County Code requirements and consistency with the King County Comprehensive Plan.

I appreciated the District's cooperation in submitting the Plan and with the UTRC review process.  If you have any questions about the Plan or the proposed ordinance, please feel free to contact Stephen Hirschey, Chair of the Utilities Technical Review Committee, at

206-205-0817.

I urge the council to adopt the enclosed ordinance approving the District's Plan.

Sincerely,

# Ron Sims

King County Executive

Enclosures

cc:	King County Councilmembers

ATTN:  Ross Baker, Chief of Staff

Saroja Reddy, Policy Staff Director

Anne Noris, Clerk of the Council

Frank Abe, Communications Director

Richard Rodriguez, Regional Planner, Washington State Department of Health

Thomas Hoffman, Manager, King County Water District No. 90

Theresa Jennings, Director, Department of Natural Resources and Parks 
Steve Hirschey, Chair, Utilities Technical Review Committee

Bob Cowan, Director, Office of Management and Budget