| 1/21/14 |  |  | 1 |
| --- | --- | --- | --- |
| Rb |  |  |  |
|  | Sponsor: |  |
|  | Proposed No.: | 2013-0480 |

AMENDMENT TO PROPOSED ORDINANCE 2013-0480, VERSION 1

On page 19, delete rows 404 through 411 and insert:

NEW SECTION.  SECTION 13.  A new section is hereby added to K.C.C. chapter 16.02 to read as follows:

Section 106.1 of the International Building Code is not adopted and the following is substituted:

Live loads posted.  (IBC 106.1). The design live loads shall be conspicuously posted by the owner using durable signs, which may not be lawfully removed or defaced, as follows:

1. For commercial or industrial buildings,  the portion or all of each floor for which the design live load is or has been designed to exceed one hundred twenty five pounds per square foot; and

2.  For all warehouse and storage buildings, the portion or all of each floor regardless of the design live load.

Effect:

- Corrects “pounds per square inch” to “pounds per square foot”

- Amends subsection 2 to clarify that all areas are to be posted, regardless of design live load.