## STAFF REPORT

| Agenda Items: | 8 | Name: | Rick Bautista |
| --- | --- | --- | --- |
| Proposed No.: | 2013-0480 | Date: | April 1, 2014 |

SUBJECT

Ordinance making changes to the County's regulations governing Title 16 of the King County Code ("KCC"), the building code and Title 17, the fire code.

BACKGROUND

The Washington State Building Code Council ("SBCC") adopts and updates the statewide building codes (including fire, mechanical, plumbing), generally every three years.  These provisions are found in the Washington Administrative Code, chapter 51.

King County is required to implement these statewide codes, unless its amendments to these codes are approved by the SBCC. The latest revisions to the various components of the building and fire codes became effective July 1, 2013. The King County building and fire codes have not been amended to reflect the current state codes.

SUMMARY

This proposed ordinance is an "omnibus" piece of legislation which primarily makes technical changes to the County's Building Code (KCC Title 16) & Fire Code (KCC Title 17) to bring the County's code into compliance with the statewide codes.   The amendments consist of 1) word choice for clarity, 2) replacement of old terminology, or 3) renumbering/correcting of cross references to the applicable Washington Administrative Code sections and international code provisions.

Attachment A of the proposed ordinance is a brief overview of the more notable amendments contained in the proposed ordinance.  The following is a shortlist of of these changes:

Building Code (KCC Title 16)

Section 3 (KCC 16.02.152) on page 8 - removes the restriction of only one home occupation or industry accessory building per residence.

Section 10 (KCC 16.02.280) on page 16 - provides greater flexibility in allowing applicants to respond to corrections by adding provision to allow the building official to extend the time periods if the applicant makes a request for an extension 7 days before the expiration and pays any applicable permit fees.

Section 13 (adds a new section to KCC 16.02.) on page 19 – in subpart 1 makes the requirement for posting live loads in commercial and industrial buildings at a higher level than what is in the International Building Code (125 pounds per square foot ("psf") versus 50 psf).  For subpart 2 to this new section (warehouses and storage buildings) the intent is that live loads have to be posted regardless of design capacity limit.

NOTE:  Amendment 1 to the proposed ordinance contains a revision to 1) replace the word “inch” to the intended “foot” in subpart 1, and 2) clarify that all portions of warehouse and storage buildings must have live load design posted.

Section 39 (KCC 16.03.020) on pages 34/35 - adds "High-Rise Building" to the list of IBC defined terms that the County code does not use since by this Proposed Ordinance the county adopts its own definition (Section 40, page 35).

Section 43 (KCC 16.04.310) on pages 37/38 - buildings, other than residential, that have rooms of up to 10,000 sf, separated by fire wall dividers, are exempt from the IBC fire sprinkler requirements.  As explained by DPER staff, fire wall dividers are sufficient and it would be cost prohibited to require fire sprinklers in the situations where fire walls are employed.

Section 46 (KCC 16.04.360) on pages 39/40 - for all buildings, up to 3,000 sf, if the rooms are separated by fire walls then the IBC requirement for monitored fire alarm is not required.

Fire Code (KCC Title 17)

Section 81 (KCC 17.04.540) on page 64 - buildings, other than residential, that have rooms of up to 10,000 sf, separated by fire wall dividers, are exempt from the IFC fire sprinkler requirements.  As explained by DPER staff, fire wall dividers are sufficient and it would be cost prohibited to require fire sprinklers in the situations where fire walls are employed.

Section 82 (adds new section to KCC 17.04) on page 65 - adds a new provision governing requirement of sprinklers in residential buildings greater than 2,500 SF (including garages) under the circumstances including lack of sufficient road access to the home.

ANALYSIS

Subsequent to the February 18, 2014 committee meeting, council staff convened three separate workshops to review the proposed legislation with district personal staff.  Over the course of seven hours of review and discussion, it was agreed that most of the proposed amendments were reasonable.

However, the need for the following three amendments were identified:

Amendment 1:  Technical amendment to fix incorrect reference and clarify intent of live load design notice in Section 13.

Amendment 2:  Amendment to retain current exemption from building permits for shade cloth structures for nurseries and agricultural structures.

Amendment 3:  Technical amendment to fix incorrect section numbering

ATTACHMENTS

- Proposed Ordinance 2013-0480

- Summary of Revisions

- Amendment 1

- Amendment 2

- Amendment 3