EXECUTIVE DETERMINATION OF EMERGENCY, WAIVER FROM COMPETITIVE PROCUREMENT REQUIREMENTS FOR THE BALLARD SIPHON REPLACEMENT IN THE WASHINGTON SHIP CANAL

WHEREAS, the Washington Ship Canal is the only migratory path for fish entering and leaving Lake Washington, Lake Sammamish and the respective tributaries and is a significant and important environmental resource; and

WHEREAS, the existing Ballard Siphon in the Washington Ship Canal was built in 1935 and consists of two 36-inch diameter wood-stave pipes.  Wood-stave pipes are shaped wood planks and are made by compressing wood stave into the cylindrical shape by means of tensioned steel bands or rods; and

WHEREAS, the existing Ballard Siphon on average conveys seven to eight million gallons per day across the Washington Ship Canal; and

WHEREAS, the Wastewater Treatment Division (WTD) has an extensive program to perform condition assessments on the 350 miles of pipes that makes up the wastewater conveyance system for King County; and

WHEREAS, the sonar technology to inspect wastewater pipes that are full of sewage became available to the WTD in November, 2005; and

WHEREAS, on December 15, 2005 the WTD received the sonar inspection report from Sonar Solution Inc. for the existing Ballard Siphon; and

WHEREAS, on January 17, 2006 the structural engineering consultant firm Roberts Engineering submitted a structural analysis report of the sonar inspection which concluded that the existing Ballard Siphon had exceeded its service life; is failing in multiple locations; and is in imminent danger of total collapse; and

WHEREAS, the WTD has determined that repair to the existing Ballard Siphon is not feasible and the condition of the Siphon warrants installing a temporary emergency bypass pipe to mitigate risks and reduce impacts from a total collapse; and

WHEREAS, the emergency temporary bypass does not eliminate overflows upon a total pipe collapse, but will reduce the amount of untreated sewage flowing into the Ship Canal from an average flow of seven to eight million gallons per day to an average flow of two to three million gallons per day; and

WHEREAS, the environmental, operations and maintenance concerns with placing the new siphons onto the canal floor may dictate using a specialized horizontal direction drilling technique to install new pipes under the Ship Canal; and

WHEREAS, the imminent risk of total collapse of the existing Siphon and the resultant large sewage overflows into the Ship Canal constitute an emergency that presents real threat to public health, safety, welfare, property and the environment; and

WHEREAS, an emergency declaration is the initial step that will allow the WTD to work with permitting agencies throughout the construction process so that permits can be issued after construction has been completed as opposed to prior to the commencement of construction; and

WHEREAS, the permitting process associated with the emergency declaration is necessary to assure the timely installation of the emergency bypass pipe and design, construction and installation of a new siphon and inlet and outlet structures; and

WHEREAS, an emergency waiver of competitive bidding and formal solicitation requirements of state and county law is necessary to assure the timely installation of the emergency bypass pipe and design, construction and installation of a new siphon and inlet and outlet structures; and

WHEREAS, the full costs of the Ballard Siphon Replacement Project is estimated to be between $12,000,000 and $13,000,000 to cover all costs and expenses associated with the design, construction and completion of the Project.

NOW THEREFORE THE KING COUNTY EXECUTIVE, RON SIMS, HEREBY DETERMINES AND DECLARES AS FOLLOWS:

SECTION 1:  There is an emergency because a) the existing Ballard Siphon has surpassed its useful life span; b) there is imminent risk of total collapse of the siphon; and c) such total collapse would result is release of untreated sewage into the Ship Canal.  Immediate steps must be taken to preserve the public health, safety, welfare, property and the environment.

SECTION 2:  The requirements for competitive bidding and formal solicitation of construction, design and other required services, materials and equipment under chapters 36.32, 39.80 and 39.10 RCW and K.C.C. chapters 4.04, 4.16, 4.18, 12.16, 12.18 and 12.19 are hereby waived with reference to the actions or contracts relating to the Ballard Siphon Replacement. This waiver expires upon completion of this project.

__________________________________________                     _________________

King County Executive					         Date