| Water Plan Review Matrix Lake Meridian Water District 2023 Water Comprehensive Plan (April 2023) |
| --- |
| Service Area The District was originally formed in the early 1960s as King County Water District No. 111. On January 1, 2019, the District changed its name from King County Water District No. 111 to Lake Meridian Water District. The District’s current Retail Service Area covers approximately 4,550 acres in the Lake Meridian area and covers portions of Auburn, Kent, Covington, and unincorporated King County. The District’s Retail Service Area goes beyond its corporate boundaries. Water System As of December 2019, the District had 5,992 water meters with the majority serving single-family residences. The water system includes approximately 87 miles of water mains and three reservoirs. The water system has nine interties with four of the adjacent purveyors. The three interties with the City of Kent area are emergency sources and used solely as an emergency interim supply. The intertie with Soos Creek Water and Sewer District is an emergency intertie and used solely as an emergency interim supply. The District has three interties with the City of Auburn; one is used as a continuous supply source for the District and the other two for emergency purposes. The District also has two interties with the Covington Water District; one is used as a continuous supply and one as an emergency intertie. The District is surrounded by several water purveyors including Soos Creek Water & Sewer District to the north, Covington Water District to the east and southeast, Auburn to the south and southwest, and Kent to the west. The District has several service agreements with adjacent water districts. The District currently has four active wells and three wells placed in emergency status. The District holds certified water rights to annually withdraw a total of 2,204 acre-feet (1.97 MGD) of groundwater with a maximum instantaneous withdrawal of 1,925 gpm (2.77 MGD). In addition to the groundwater wells, the District purchases water from the Covington Water District. Water Use Efficiency The District began its conservation program in 1997 and has experienced water savings through operations and maintenance, plumbing retrofit programs, water rates, metering approaches, and information programs to educate customers about conservation. In 1997, the District developed a conservation program with the goal of 0.5% per year reduction to the year 2000, and 1% per year thereafter. The resulting projected water use at 20 years (2017) was 212 gallons per day (gpd)/equivalent residential unit (ERU). The District has maintained its existing program and added elements to maintain its commitment to conserving water. From 1997 to 2000, the District reduced demand from 255 gpd/ERU to 240 gpd/ERU, a total reduction of 5.9%. From 1997 to 2004, the District reduced demand from 255 gpd/ERU to 205 gpd/ERU, a reduction of over 3% per year. From 2004 to 2014 a further reduction of around 28 gpd/ERU, from 205 gpd/ERU to 177 gpd/ERU was achieved. This represented an average reduction of approximately 1.45% per year. The District set a new goal in 2017 to maintain a 3-year average water use at or below 180 gallons per ERU. This goal was met between 2017 and 2019 as the District achieved a reduction from 255 gpd/ERU to 172 gpd/ERU. For this 20-year planning period, the District has adopted a water use efficiency goal of maintaining a 3-year average water use of 180 gpd/ERU. In addition to the mandatory elements, the District’s Water Use Efficiency program includes: maintaining a conservation-oriented pricing structure with increasing block rates to provide an economic conservation incentive to its customers; encouraging and periodically providing water conservation items to single-family homes and the owners and managers of multifamily buildings; supporting new code required by the local jurisdiction for all new construction to install low-flow devices before connection to the system; participating in media and advertising opportunities; supporting, encouraging, and providing resources on the use of native vegetation, drought tolerant and xeriscaping (low water use landscaping) methods; and, providing rain gauges periodically to its customers to track rainfall and how much water was applied to lawns and landscape. Distribution System Leakage (DSL) The District’s distribution system leakage (DSL) has remained below the District’s policy of 10% or less. The average percent of DSL for the past three years has been 6.0%, however this average includes an outlier of 2% DSL in 2018. The average of 2017 and 2019 is 8.2%. Capital Improvement Plan & Financial Analysis The Plan contains three categories of capital improvements with the projects totaling approximately $61 million over the 20-year planning period: 10-year projects: 64 projects totaling $47.4 million; 20-year projects: 17 projects totaling $19.8 million; and, Long-Term projects: 20 projected totaling $10 million. The Long-Term projects are improvements which are not urgent but were identified in the water system model as deficiencies. The District identified multiple funding sources for the proposed improvement projects: water sales, connection charges, developer extensions, bonds, and a state loan. While the District’s existing rates are adequate to cover operating expenses and debt repayment obligations for 2022, rate increases will be needed to: keep up with increasing operating costs; cover new debt service; and, expand system reinvestment to fund longer-term needs. The recommended rate strategy envisions annual rate increases of 6.00% through 2027, followed by a rate increase of 4.50% in 2028 and annual rate increases of 4.00% from 2029 – 2031. Even with these increases, the average residential bill is expected to remain within the affordability index threshold of 2.5% of median household income. Reclaimed Water and Regional Planning The District completed a water reuse evaluation as a part of their 2007 Water Comprehensive Plan. The potential list was reviewed in May 2023 and remains accurate for identifying potential reclaimed water users in the District. The list includes multiple schools, parks, and larger residential developments for landscape irrigation purposes. However, there is not a convenient source of reclaimed water to the District. The closest source for reclaimed water is the King County South Treatment plant, approximately 8 miles away. The District does support reuse facilities if economically, socially, and environmentally feasible. The District may consider participation as appropriate in the water reuse projects and programs developed by others, including demonstration or pilot projects that may be developed in accordance with applicable federal, state, and local laws and regulations. SEPA The District completed a State Environmental Policy Act checklist and subsequently issued a Determination of Nonsignificance for the issuance of the plan on March 7, 2023; there were no appeals. |
| A review of the specific statutes, rules, codes, and policies to the water system plan is as follows: |
|  | A. General water plan, King County Code (KCC) 13.24.010 and chapter 13.28 | Comments/findings |
| (1) | Review is applicable to water utilities distributing or obtaining water in unincorporated King County, and/or utilities that are special purpose district created pursuant to Title 57 Revised Code of Washington (RCW). Is there a need to meet the consistency requirements of RCW 43.20.260? | The District’s service area includes an area in unincorporated King County The District's Water System Plan (Plan) is subject to King County Council approval under Title 57 RCW. The Washington State Department of Health (DOH) needs to demonstrate consistency for the Plan under RCW 43.20.260. |
| (2) | Consistency with King County Comprehensive Plan (KCCP) and development regulations, and policies including KCC 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | The Plan is consistent. |
| (3) | The Plan shall be adopted by that entity and approved by the King County Council as a prerequisite for the following: Operating in unincorporated King County; Approval of annexation proposals; Granting of new right-of-way franchises and right-of-way franchise renewals; and Approval of right-of-way construction permits, except for emergency permits issued under KCC 14.44.055. | The District approved the Plan through Resolution No. 680-03-23 on March 23, 2023, prior to submission to the County for approval. The District’s service area extends into unincorporated King County. The District currently does not have any of its infrastructure in unincorporated King County and does not have right-of-way agreement with King County. Prior to the extension of District infrastructure into unincorporated King County, it will begin the process to obtain a right-of way agreement. |
| (4) | Plans should be submitted every six years or sooner if required by the Washington State Department of Health (DOE), or whenever water conditions have changed significantly within water service area. | The King County Council approved a Water System Plan Update Extension for King County Water District No. 111 (now known as Lake Meridian Water District) in December 2016 through King County Ordinance No. 18437. |
| (5) | Infrastructure for existing and future service areas based on adopted land use map. | The Plan recognizes the adopted zoning of each of the jurisdictions. The modeling that identifies future needed infrastructure improvements incorporated growth projections reflective of the adopted zoning and growth targets. |
| (6) | Review proposals for modified or expanded service areas based on compliance with utility's approved plan, and ability to meet duty to serve requirement. | The District is not proposing any modification to its Retail Service area. |
| (7) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | The Plan demonstrates an ability to provide service consistent with applicable statutes, codes, rules, and regulations. The District’s water supply strategy includes using their own groundwater resources and purchase of capacity in regional supplies. The Plan provides detailed information on the operational and preventative maintenance activities that demonstrates the District’s ability to provide service consistent with applicable provisions. The District’s water supplies appear sufficient to meet projected annual demand. |
| (8) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved Coordinated Water System Plan (CWSP). | The District is within the South King County Coordinated Water System Plan. The District’s water use efficiency plan identifies conservation activities which the District employs as part of its long-range conservation plan. The District’s conservation measures, beyond required measures, include customer education, a conservation-oriented pricing structure, rebates/providing water conservation items, and supporting use of native vegetation. |
|  | B. Consistency requirements: KCC 13.24.060 |  |
| (9) | State and local health requirements. | The water purveyor meets State and local health requirements per reporting in the SENTRY system. The Plan has not yet been approved by DOH. The UTRC review process included a representative of Public Health-Seattle and King County. |
| (10) | Creation and maintenance of logical service areas. | The service area boundary itself is logical. |
| (11) | Elimination or prevention of duplicate facilities. | The District intends to provide service within its service area through direct connection. |
| (12) | Promotion of most healthful and reliable services to the public. | Water purveyed by the District complies with DOH requirements. |
| (13) | Provision of service at a reasonable cost, and maximization of use of public facilities. | The Plan provides an analysis of the cost of service and finds that the average residential bill is expected to remain within the affordability index threshold of 2.5% of median household income. |
| (14) | King County Comprehensive Plan and other pertinent county adopted plans and policies. | The Plan incorporates zoning and growth targets consistent with the King County Comprehensive Plan and cities of Auburn, Kent, and Covington. The Plan acknowledges that Vision 2050 is not reflected due to timing of its adoption and drafting of the WSP, and jurisdictions will be updating their respective land use plans. |
| (15) | Basin-wide or multi-basin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (Ecology) or Department of Health (DOH). | The District does not collect or treat wastewater. |
| (16) | Applicable state water quality, water conservation, and waste management standards. | Applicable standards are met. The District's three-year rolling average distribution system loss (DSL) has been 6.0%, however this average includes an outlier of 2% DSL in 2018. The average for 2017 and 2019 is 8.2%. This is below the DOH requirement, in compliance with the standard. |
| (17) | Water Resources Act (RCW 90.54). | The District plans to continue and improve upon its existing conservation (efficiency) program in compliance with DOH’s Water Use Efficiency Rule. |
| (18) | Growth Management Act (GMA) (RCW 36.70A). | The Plan is consistent with the Growth Management Act. See #22 - #43 below. |
| (19) | Groundwater management plans. | The Plan does not cite any groundwater management plans. |
| (20) | Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | The District does not directly draw on surface water, it is obtained through the Covington Water District, which receives it from the Tacoma Regional Water System Supply (RWSS), formerly known as the Tacoma Second Supply Project (TSSP). |
| (21) | Requirements for salmon recovery under Ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | See #20 above. |
|  | C: Countywide Planning Policies |  |
| (22) | FW-5: Adopt comprehensive plans that are consistent with the Countywide Planning Policies as required by the Growth Management Act. | The Plan is consistent with Countywide Planning Policies. |
| (23) | DP-14: All jurisdictions shall accommodate housing and employment targets by ensuring water, sewer, transportation and other infrastructure plans and investments among agencies, including special purpose districts are consistent in location and timing with adopted targets as well as regional and countywide plans. | The District Plan demonstrates that it can accommodate its proportional share of population and employment targets of the cities and unincorporated King County within its service area. |
| (24) | PF-3: Coordinate among jurisdictions and service providers to provide reliable and cost-effective services to the public. | The District has nine interties with four adjacent water purveyors. The District has coordinated with Soos Creek Water & Sewer District, Kent, and Auburn with interties for emergency supply and obtains its water via interties. District signed a Wholesale Water Supply Agreement in December 2015 with Covington Water District. Through this agreement the District receives water from the Tacoma Regional Water System Supply (RWSS), formerly known as the Tacoma Second Supply Project (TSSP), via Covington Water District to provide for projected growth in demand. |
| (25) | PF-5: Develop plans for long‐term water provision to support growth and to address the potential impacts of climate change on regional water resources. | The increased water usage associated with population growth within the District can be met using existing water supply sources, wholesale water from Covington Water District. The Plan does include information about climate change (using tools from University of Washington) and concludes: likely no impact on the District’s groundwater supply wells either in quantity or reduction in water levels; as the District received surface water from the RWSS, it may be necessary for Tacoma to consider increasing its storage volumes to capture rainfall that would otherwise be melting snow; and, water use will not be affected. |
| (26) | PF-8: Plan and locate water systems in the Rural Area that are appropriate for rural uses and densities and do not increase the development potential of the Rural Area. | The District’s service area includes a small area of rural zoned property. The provision of water service does not increase the development potential within the rural area as permitted land uses and densities are regulated through King County’s Comprehensive Plan and associated development regulations. |
| (27) | PF-9: Recognize and support agreements with water purveyors in adjacent cities and counties to promote effective conveyance of water supplies and to secure adequate supplies for emergencies. | The District has agreements with Soos Creek Water & Sewer District, the City of Kent and the City of Auburn for interties that provide an emergency water supply. |
| (28) | PF-10: Implement water conservation and efficiency efforts to protect natural resources, reduce environmental impacts, and support a sustainable long‐term water supply to serve the growing population. | The water conservation and efficiency efforts of the District meet the statutory minimum required by WAC Ch. 246-290. The District's three-year rolling average distribution system loss (DSL) has been 6.0%, however this average includes an outlier of 2% DSL in 2018. The average for 2017 and 2019 is 8.2%. The distribution system loss is within or meets State standards of 10% WAC Ch. 246-290. |
| (29) | PF- 11: Encourage water reuse and reclamation, especially for high‐volume non‐potable water users such as parks, schools, and golf courses. | The Plan does not consider reclaimed water use, as the utility does not have reclaimed water infrastructure or a source. The Plan does include statements of support for water reuse should potential reuse opportunities become available. |
|  | D: King County Comprehensive Plan (KCCP) |  |
| (30) | F-107: With special purpose districts or local service providers, plan for provision of services to rural areas and Natural Resource Lands, consistent with rural standards and needs. | The District’s service area includes a very small rural area. The Plan recognizes the rural land use designation and zoning. |
| (31) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the Endangered Species Act and the Clean Water Act. | The District doesn’t directly obtain surface water. The District meets the Clean Water Act through its compliance with DOH regulations. |
| (32) | F-209: In the Rural Area, services provided by agencies should support a rural level of development and not facilitate urbanization. | See #26 above. |
| (33) | F-210: capital facility plans and capital improvement programs prepared by all other agencies for services to unincorporated King County are consistent with the KC Comprehensive Plan. | The modeling that identified potential capital improvement incorporated land use and growth assumptions consistent with the KC Comprehensive Plan. |
| (34) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable as the District did not identify an inability to meet service needs within its service area. |
| (35) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies. | Not applicable as the District did not identify an inability to meet service needs within its service area. |
| (36) | F-231: King County supports coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse, and reclaimed water programs to support growth in the UGA and ensuring water availability for resource lands. | The District signed a Wholesale Water Supply Agreement in December 2015 with Covington Water District. Through this agreement the District receives water from the Tacoma Regional Water System Supply (RWSS), formerly known as the Tacoma Second Supply Project (TSSP), via Covington Water District. The District is committed to continuing its water conservation efforts. |
| (37) | F-232: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the county for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service area. | The District does provide water to unincorporated King County areas. The District is a special purpose district formed under Title 57 RCW. The Plan demonstrates that the District can meet its duty to serve in the designated retail service area. |
| (38) | F-246: King County supports interties that allow the transfer of water resources among water utilities to meet the projected demands for growth where such interties meet the requirements of RCW 90.03.383 and are also consistent with any applicable locally adopted comprehensive plans, regional water supply plans, adopted groundwater management plans, watershed plans, approved Coordinated Water System Plans, Endangered Species Act response requirements and Clean Water Act requirements. | See #24 above. |
| (39) | F-249: Utilities with more than one thousand service connections required to submit water system plans for approval to King County shall include an evaluation of reclaimed water use opportunities by completing King County's Water Reclamation Evaluation Checklist. | The District completed a water reuse evaluation as a part of their 2007 Water Comprehensive Plan. The potential list was reviewed in May 2023 and remains accurate for identifying potential reclaimed water users in the District. The District provided a copy of the 2007 evaluation. |
| (40) | F-251: In its review of water system plans, the UTRC shall consider the criteria provided in K.C.C. 13.24.010, 13.24.060, and 13.24.070, and determine the plan's consistency with the following: a. Applicable provisions of the King County Comprehensive Plan, land use plans, and development regulations adopted under the Growth Management Act; b. Approved or adopted regional water resource plans, such as basin plans, groundwater plans, watershed-based conservation and recovery plans developed under ESA, salmon recovery plans developed under chapter 77.85 RCW, water resource plans developed under chapter 90.54 RCW, watershed plans developed under chapter 90.82 RCW, and a regional water supply plan or water resource management plan; c. The county's Regional Wastewater Services Plan; and d. Other applicable provisions of countywide plans managed by King County, as specified in UTRC guidance or checklists. | The UTRC has reviewed the planning data and the District's operations and has found the Plan is consistent with: a. the King County Comprehensive Plan, land use plans and development regulations; b. to the extent applicable, the basin plans, groundwater plans, watershed-based conservation and recovery plans for the service area; and c. other applicable provisions. |
| (41) | F-252: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, the UTRC shall consider, in addition to Policy F-251: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in King County Code Chapter 13.28. | Not applicable as the District is not modifying its Retail Service area. |
| (42) | F-253: Consistent with Countywide Planning Policies, public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds must be managed to protect downstream fish and agriculture resources. | Not applicable as the District does not control any surface water reservoirs or watersheds. |
| (43) | F-254: Groundwater-based public water supplies should be protected by preventing land uses that may adversely affect groundwater quality or quantity to the extent that the supply might be jeopardized. The county shall protect the quality and quantity of groundwater used as water supplies through implementation of Policies E-493 through E-497 where applicable. | The District has a Well Head Protection Program. The Well Head Protection Plan includes protection strategies, implementation tasks, a spill response plan, and a contingency plan. |