Metropolitan King County Council

Physical Environment Committee

# STAFF REPORT

| AGENDA ITEM: | X | DATE: | December 8, 2009 |
| --- | --- | --- | --- |
| PROPOSED NO.: | 2009-0588 | PREPARED BY: | Marilyn Cope |

SUBJECT	Proposed Ordinance 2009-0588 would approve the King County Water District 19 (the “District”) 2007 Water System Plan (the “Water Plan”).

SUMMARY

Council approval of water utility comprehensive plans is required by County Code as a prerequisite for: operating in unincorporated King County, granting right of way construction permits, granting new or renewed franchises, and service boundary annexations.

BACKGROUND

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee ("UTRC") to review and make recommendations to the Executive and County Council on the adequacy of all water system comprehensive plans and related matters, and to determine whether the plan:

- is consistent with local comprehensive plans;

- is consistent with the King County Comprehensive Plan;

- reflects current supply and demand;

- forecasts future supply and demand;

- provides a capital plan for obtaining, using, storing and conveying water and sewage;

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of King County Code Chapter 13.24, the County's approval of a plan also provides the determination for state regulatory agencies that a plan is consistent with the King County Comprehensive Plan and related policies and implementing development regulations.  See RCW 43.20.260.

UTRC ANALYSIS OF THE KING COUNTY WATER DISTRICT No. 19 WATER SYSTEM PLAN

In June of 2009, the UTRC reviewed the District's Water Plan and found it met the requirements of King County Code Chapter 13.24 and recommended its approval with the condition that the District and the County commence a joint planning process to remedy capacity constraints.  Highlights of the Water Plan as reviewed by the UTRC are outlined below:

Service Area

The District’s service area is located on the eastern side of Vashon Island and extends south to include a small portion of the northern part of Maury Island.  Population densities in the District vary from the town of Vashon, which is fairly densely populated and includes some industrial and commercial businesses, to more rural densities throughout the rest of the District.  The District does not plan on any changes to its service area and it is consistent with the identified service area in the Vashon Coordinated Water System Plan (“CWSP”).  At this time, the District is in moratorium for new connections due to its inability to meet high summer demand because of a lack of source capacity.

Water Use Efficiency

Numerous statutes, KCC chapter 13.28, and the King County Comprehensive Plan, require efficient water use.  Water use efficiency applies to both supply and demand management.  The District has been complying with the conservation planning requirements developed jointly by the Washington State Department of Ecology and DOH and the Washington Water Utilities Council for several years.  The District is also in the process of implementing the Water Use Efficiency Rule that was recently adopted by DOH.  The District has experienced difficulties in meeting current demand, not to mention new demand, so it recognizes the value of conservation and efficiency in extending existing supplies.  It has developed its own conservation plan, which contains many of the elements from the guidance above, and is currently implementing it.  The District has a good record in recent years concerning distribution system losses; its lost and/or unaccounted for water has averaged 4.8 percent from 2002 through 2006, and it has a good program for monitoring its system for leaks and repairing or replacing the leak as quickly as possible.

The District obtains water from a combination of three wells and Beall and Ellis creeks located at various points throughout the District’s service area.  Projected average daily water demand from all sources, without conservation, in 2008 was approximately .375 million gallons per day.  Average water use per connection varied between 205 and 225 gallons per day (“gpd”) from 2002 to 2006.  Based on that data, the District has decided to use 225 gpd for planning purposes, a figure within the range used by most other water utilities for planning.  The District is using a peaking factor of 2.88 for its planning, based on the maximum day usage during the same 2002-2006 period.  The peaking factor is very conservative.

When fully implemented, the District’s conservation program will satisfy the minimum requirements established in 2003 by the Municipal Water Law.  The District just became subject to the Water Use Efficiency Rule.

Reclaimed Water and Regional Planning

The District recognizes the value of reclaimed water as a means to extending limited drinking water supplies.  At this time no reclaimed water is being produced on Vashon Island.

The District understands the value of water in a source-limited area such as Vashon Island and is committed to participating in regional planning and water supply development and has supported regional planning efforts such as the Vashon CWSP.  The District also participated in the development of the Vashon – Maury Island Ground Water Management Plan.

Capital Improvement Program

The Plan contains a six-year capital improvement program (“CIP”) with an estimated $1.15 million in projects.  The CIP will be funded by general facilities charges, local facilities charges, water revenues, grants and low-cost loans, bonds, and/or outside funding sources.  Total water revenues in 2006 were $996,567.

# SEPA

# The District completed a State Environmental Policy Act checklist for the Water Plan and, as lead agency, issued a determination of non-significance for the issuance of the Water Plan on November 9, 2007.

ATTACHMENTS

- Proposed Ordinance 2009-0588