## STAFF REPORT

| Agenda Item: | 7 | Name: | Andy Micklow |
| --- | --- | --- | --- |
| Proposed No.: | 2024-0252 | Date: | February 19, 2025 |

SUBJECT

An ordinance approving the Valley View Sewer District 2023 General Sewer Plan.

SUMMARY

Proposed Ordinance 2024-0252 would approve the Valley View Sewer District 2023 General Sewer Plan dated February 21, 2023 (Plan), meeting the requirement for a wastewater utility to provide sewer service in unincorporated King County.

BACKGROUND

Valley View Sewer District (District) is located south of the City of Seattle. The District serves portions of the cities of Burien, SeaTac, Seattle, Tukwila, and unincorporated King County. The Plan states that the District currently serves approximately 8,600 connections. The District's last wastewater plan was approved in 2012 by King County Ordinance 17387.

King County Utility Comprehensive Plan Criteria. King County Code (K.C.C.) Chapter 13.24 requires the Utilities Technical Review Committee (UTRC) to review and make recommendations to the Executive and County Council on the adequacy of all water and sewer comprehensive plans and related matters, and to determine whether the Plan:

- is consistent with the King County Comprehensive Plan,

- is consistent with local comprehensive plans,

- reflects current supply and demand,

- forecasts future supply and demand,

- provides a capital plan for obtaining, using, storing and conveying water and sewage, and

- provides sufficient information to demonstrate the utility district's ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of K.C.C. Chapter 13.24, the County's approval also provides state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

Additionally, King County has adopted a Comprehensive Plan that includes policies that address water and wastewater policies for facilities and services, calling for consistency with other adopted plans, pursuit of reclaimed water, water conservation, and provision of sewer and wastewater services.

UTRC ANALYSIS OF Valley View Sewer District 2023 General Sewer Plan dated February 21, 2023

The UTRC finalized its review of the Valley View Sewer District 2023 General Sewer Plan in May 2024 (see Attachment 2 to this staff report for a more detailed description of the UTRC review). The UTRC found that the Plan meets the requirements of K.C.C. Chapter 13.24 and has recommended its approval. Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area: The Valley View Sewer District's service area includes portions of the cities of Burien, SeaTac, Seattle, Tukwila, and unincorporated King County. Its sewer service area consists of approximately 6,000 acres. There are portions of the service area that are not fully built out.

Facilities: The sewer system includes 8,600 connections, serving approximately 44,684 people. The District's infrastructure includes approximately 134 miles of sanitary sewer lines, an estimated 39 miles of side sewers, and 19 pump stations to compensate for the hilly terrain within the service area.

The District does not maintain wastewater treatment or disposal facilities. The District relies on the service of King County DNRP-WTD, Southwest Suburban Sewer District, and Midway Sewer District for these services. Delivery of flow to these entities for treatment and disposal of wastewater is accomplished through system connections and in accordance with existing interlocal agreements.

The UTRC determined that the District's sewer plan demonstrates that the District has the capacity to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations.

Growth: The Valley View Sewer District 2023 General Sewer Plan is consistent with the Washington State Growth Management Act and the King County Comprehensive Plan as it limits service to within the designated urban area and incorporates future growth projections consistent with King County's adopted growth targets.

System Improvements: The District's Capital Improvements Plan estimates $85 million in improvements for rehabilitation or replacement and $58 million for sewer extension projects to the sanitary sewer system over the next thirty years. According to the Plan, revenue sources for financing District operations and capital expenses include rates, Utility Local Improvement Districts (ULIDs), bonds, grants, and loans.

SEPA: The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency under SEPA, issued a Determination of Nonsignificance for the approval of the Plan on March 17, 2023. There were no appeals.

ATTACHMENTS

- Proposed Ordinance 2024-0252 (and its attachment)

- Review of Valley View Sewer District 2023 General Sewer Plan - UTRC Matrix

- Transmittal Letter

- Fiscal Note