Environment and Transportation Committee

## STAFF REPORT

| Agenda Item: | 7 | Name: | Mike Reed |
| --- | --- | --- | --- |
| Proposed No.: | 2010-0083 | Date: | March 9, 2010 |

SUBJECT

Proposed Ordinance 2010-0083 would approve the King County Water District 125 (“District”) 2006 Water System Plan (“Water Plan”).

SUMMARY

Council approval of water utility comprehensive plans is required by County Code as a prerequisite for: operating in unincorporated King County, granting right of way construction permits, granting new or renewed franchises, and service boundary annexations.

BACKGROUND

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee ("UTRC") to review and make recommendations to the Executive and County Council on the adequacy of all water system comprehensive plans and related matters, and to determine whether the plan:

- is consistent with local comprehensive plans

- is consistent with the King County Comprehensive Plan

- reflects current supply and demand

- forecasts future supply and demand

- provides a capital plan for obtaining, using, storing and conveying water and sewage

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of King County Code Chapter 13.24, the County's approval of a plan also provides the determination for state regulatory agencies that a plan is consistent with the King County Comprehensive Plan and related policies and implementing development regulations.  See RCW 43.20.260.

UTRC ANALYSIS OF THE KING COUNTY WATER DISTRICT No. 125 WATER SYSTEM PLAN

In November of 2009, the UTRC reviewed the District's Water Plan and found it met the requirements of King County Code Chapter 13.24 and recommended its approval.  Highlights of the Water Plan as reviewed by the UTRC are outlined below.

Service Area - The District’s service area extends from State Highway 599 and the Duwamish River on the north and south to State Highway 518, Des Moines Way South on the west, and Beacon Avenue and 53rd Avenue South on the east.  While the majority of the District is west of Interstate Highway 5, a small area of the District lies east of the Duwamish River, in an unincorporated area of King County, referred to as Skyway Hill.  As of 2008, the District served a population of approximately 14,760, through an estimated 3,350 water service connections.  The service area is surrounded by neighboring water purveyors and is not expected to change.  The District serves within the corporate limits of the cities of SeaTac, Burien, and Tukwila, and unincorporated King County.

The District’s right-of-way franchise is currently being reviewed by King County for renewal.

Water Use Efficiency - The District obtains its water from Seattle Public Utilities (“SPU”) for its primary source of supply.  Approximately 34 percent of the District’s supply is purchased from SPU through the King County Water District No. 20 system.  Additionally, the District maintains emergency interties with the City of Tukwila.  Water use within the District averaged approximately 1.43 million gallons per day (mgd) from 2006-2008 and by the year 2030 is anticipated to reach over 1.91 mgd.  The District’s average water use per equivalent residential unit in 2008 was 184 gallons per day.  The District is in compliance with the Washington State Department of Health’s Water Use Efficiency Rule.

Capital Improvement Plan - The Water Plan contains an ambitious six-year capital improvement plan with the cost estimated to be approximately $5.2 million.  The District identified three funding sources for the proposed improvement projects: developer extensions, rates, and general facility charges.  Total water revenues for the District in 2008 were $2,578,570.

Reclaimed Water and Regional Planning - The Water Plan indicates that the District recognizes the value of reclaimed water as a means to conserve and extend the useful life of the potable water supply.  The District will work with its customers and King County to assess the feasibility of using reclaimed water for various non-potable water needs.

# SEPA - The District completed a State Environmental Policy Act checklist for the Water Plan and, as lead agency, re-issued a determination of non-significance for the issuance of the Water Plan on October 30, 2009.

ATTACHMENTS

- Proposed Ordinance 2010-0083