REVISED SUMMARY MATRIX

UNIFORM BUILDING CODE

| Ordinance Section Number | King County Code Section Number | UBC Section Number | ##### Section Title | Comments |
| --- | --- | --- | --- | --- |
| 10 | 16.04.05005 | 106.2 | Permits-work exempt from permit | Adds residential submerged mechanical boat lifts to items exempt from building permits. |
| 28 | 16.04.05022 | 108.5.3 | Inspection – concrete slab or under floor inspection | Authorize concrete slab and under floor inspection as currently required in the 1997 UBC. |
| 29 | 16.04.05023 | 108.5.5 | Inspection – lath or gypsum board inspection | Authorizes lath or gypsum board inspections as currently required in the 1997 UBC. |
| 40 | 16.04.05034 | 305.10 | Use or occupancy – Infant day care | - Defines infant as less than 30 months old (as opposed to 24 months) consistent with new state and national standards. - Care facilities are not allowed above the second floor. This change is consistent with standards applying to facilities for older children and affords infants the same level of protection in terms of ability to evacuate during emergencies. - One hour separation from other uses. Same as 1994 UBC. - Fire alarm and sprinkler systems required. Same as 1994 UBC. - Current code requires 2 exit doors when occupant loads exceeds 6. This change will provide economic relief for small home daycare by increasing the threshold from 6 to 10 occupants. In addition the exit door must be equipped with panic hardware. |
| 41 | 16.04.05035 | 305.11 | Use or occupancy – Modified E Occupancy | Main change in language is from “Area” to “Building or portion of building classified as Group E” this is better building code language. - Modified E Occupancy will have monitored sprinkler systems. This is same as 1994 code. - One hour separation from other uses. This is same as 1994 code. - Be provided with at least two exits with loads of 7or more. - Require accessible exits and prohibits the exception for using areas of evacuation assistance in lieu of accessible exits. - Install a fire alarm system throughout. This is same as 1994 code. |
| 42 | New Section | 310.4 | Access and means of egress facilities and emergency escapes. | Provides the building official an opportunity to provide economic relief for basement remodel projects by not requiring emergency exit windows or doors if the space does not lend itself to be a habitable space. |
| 43 | New Section | 311.2.2.1 | Group S, Division 3 with Group A, Division 3; Group B; Group M or R, Division 1 Occupancy above. | Exception 5 was added to clarify how to calculate building height from grade for the purpose of allowing additional height and area as well as adequate fire protection. |
| 45 | 16.04.050365 | 313.8.2.1 | Sprinkler systems – Group LC Occupancies. | Reflects the state requirement to provide sprinkler systems for every licensed care facility with 3 or more stories or with more than 16 clients. |

UNIFORM BUILDING CODE (cont.)

| Ordinance Section Number | King County Code Section Number | UBC Section Number | ##### Section Title | Comments |
| --- | --- | --- | --- | --- |
| 52 | 16.04.05043 | 904.2.2 | Fire Protection systems – all occupancies except Group R, division 3 and Group U occupancies. | Existing code language states “floor level with and occupant load of 30 or more” is changed to “floor used for human occupancy.” Currently the code has limited requirements for fire protection systems for floor levels above 55 feet in height whether it is occupied or not. This change regardless of occupant load would allow us to provide some level of protection for any number of human occupants residing on those upper floor levels. |
| 55 | New Section | 904.2 | Fire-extinguishing systems – Group R, Division 3 Occupancies | Clarifies that the fire marshal already has the authority to determine special hazard as well as require adequate fire protection in single family homes. Uniform Fire Code section 1001.9 gives this authority. |
| 56 | 16.04.050455 | 904.2.10 | Fire-protection systems – LC Occ. – Boarding Homes | Clarifies county code reference for boarding home fire-protection systems |
| 57 | New Section | 1003.3.3 | ## General Stairways | Stairs that lead to areas of 200-sq. ft. or less are not exempt from stair requirements found in UBC 1003.3.3. Note: Possible impact to single family homes, i.e. access to bedrooms. Note: This was originally a State change in the 1994 code. DDES found it impractical to enforce and implement this code section because trying to ascertain a homeowners intended use for an area is not practical. In addition, DDES has concerns of getting emergency rescue access to a possible bedroom area in an attic space. |
| 59 | New Section | 1006.3.3.1 | Exterior exit stairways. General | Clarifies the term “exterior exit stairway perimeter” and how to measure it. |
| 61 | New Section | 1701.5 | Types of Work | New section lists Exterior Insulation and Finishing Systems (E.I.F.S.) as an item to be inspected by a special inspector. A problems with E.I.F.S. is quality control on the installation of this wall system. Improper installation of this wall system has caused major moisture damage to walls throughout this State. Requiring special inspections will protect building owners from future damage caused by poor installation. |
| 64 | 16.04.05049 | 2320.11.4 | Alternate brace wall panels | “Alternate brace wall panels” are used as an alternative to current code requirements for shear walls commonly placed in single family residential garages and in the first story of residences of two stories or less. This panel allows for more flexibility in the design of these building and addresses seismic and wind load. This is an affordable prescriptive lateral restraint method. |
| 65 | 16.04.05050 | 2902.1 | Plumbing systems number of fixtures | Clarifies that unisex toilets are to be included in the total fixture counts. |

UNIFORM BUILDING CODE (cont.)

| Ordinance Section Number | King County Code Section Number | UBC Section Number | ##### Section Title | Comments |
| --- | --- | --- | --- | --- |
| 66 | 16.04.05051 | 3404 | Existing structures – moved buildings | - Moved buildings must meet requirements of all codes. - R-3’s are exempt from meeting code requirements if it complies with the specification in this section. - This amendment removes outdated requirements placed on moved building. |
| 67 | 16.04.05052 | 419 | Appendix Chapter 4, Division I – General. | Clarifies site references for “General Use Pools” and “Limited Use Pools.” In addition, it establishes the department of public health as the regulatory authority. |
| 68 | 16.04.05053 | 421.1 | Appendix Chapter 4, Division I – Outdoor swimming pool | States (in subsection .5) that a separation fence is required when the wall of any building that contains a door or window is used as a barrier for an outdoor pool. Eliminates reference to single family homes (R-3) so as to apply the requirement to all adjacent buildings regardless of use. |
| 69 | New Section |  | Standard 9-1 installation of Sprinkler systems | Updates references standards to NFPA 13-1999 |
| 70 | New Section |  | Standard 9-2 Standpipe systems | Updates references standards to NFPA 14-1996 |
| 71 | New Section |  | Standard 9-3 installation of sprinkler systems in R-3 Occ. Four stories or less. | Ppdates references standards to NFPA 13R-1999 |

UNIFORM HOUSING CODE

| Ordinance Section Number | King County Code Section Number | #### UHC Section Number | Section Title | Comments |
| --- | --- | --- | --- | --- |
| 135 | New Section | 401 | Definitions | Adds building official to all references with health official. |
| 139 | New Section | 1001.1 | General | Allows DDES to address dangers to neighboring properties (i.e. nuisance). |
| 140 | New Section | 1001.2 | Inadequate Sanitation | Adds Building Official to the enforcement of the UHC. |
| 141 | New Section | 1001.9 | Fire Hazard | Adds Building Official to this section. |
| 144 | 16.04.050115 | 1103 | Notices and order of the building official – Repair, vacation and demolition. | Requires immediately dangerous building to be secured from entry. |
| 145 | 16.04.050116 | 1104.1 | Notice to vacate-Posting | Clarifies what and where these notices can be placed. |

### UNIFORM CODE FOR THE ABATEMENT OF DANGEROUS BUILDINGS

| Ordinance Section Number | King County Code Section Number | UCADB Section Number | Section Title | Comments |
| --- | --- | --- | --- | --- |
| 153 | New Section |  | Adoption | This amendment adopts the Uniform code for the Abatement of Dangerous Buildings |
| 161 | New Section | 302 | Dangerous Building | The following points have been modified. 12. Changed reference from “children” to “persons.” 15. Added “or building official.” 16. Added “or building official.” 18. Deleted “...abandoned ((for a period in excess of six months)) so as....” the six-month period is not consistent with Title 23. |
| 163 | New Section | 401.2 | Notice and Order | Provisions deleted to avoid conflicts with the provisions in King County Code Title 23. |
| 164 | New Section | 401.3 | Service of Notice and Order |  |
| 165 | New Section | 401.4 | Method of Service |  |
| 166 | New Section | 401.5 | Proof of Service |  |
| 168 | 16.04.050132 | 403 | Notice and orders of building official – Repair, vacation and demolition | Requires substandard structures to be closed to entry, if required to be vacated. |

### UNIFORM FIRE CODE

| Ordinance Section Number | King County Code Section Number | UFC Section Number | Section Title | Comments |
| --- | --- | --- | --- | --- |
| 177 | 17.04.01001 | 101.4 | Administration-Supplemental rules and regulations | Clarifies that the Fire Marshal has the authority to render interpretations of this code. |
| 179 | 17.04.01003 | 103.1.4 | Inspection and enforcement -Appeals | Establishes 9 members for the fire appeals board. |
| 181 | 17.04.01005 | 103.2.1.1 | Inspection and enforcement-General | Establishes King County Fire Marshal’s Office authority to enforce Title 17.04 (fire code) |
| 187 | New Section | 105.8 a.4 | Asbestos removal | Establishes that the Fire Marshal’s Office is not responsible for asbestos removal. In King County, the Department of Health has authority and responsibility. |
| 188 | 17.04.01012 | 207 | Definition – fire detection system | Updates Standard 10-2 and 10-3 to 1999 version. |
| 195 | 17.04.01018 | 902.2.2.2 | Fire department access-Surface | Establishes load requirement for fire apparatus access roads at 25 ton. Codifies current DDES practice. |
| 196 | 17.04.01019 | 902.2.2.3 | Fire department access – turning radius | Specifies fire department access turning radius, 20 foot inside and 40 foot outside turning radius. Codifies current DDES practice. |
| 197 | 17.04.01020 | 902.2.2.4 | Fire department access-Dead ends | Establishes requirements for a hammerhead like turn around. Codifies current DDES practice. |
| 198 | New Section | 902.2.2.5 | Bridges | Specifies load requirement for bridges at 25 tons. Codifies current DDES practice. |
| 199 | 17.04.01021 | 902.2.2.6 | Grade | Gradient for fire access road shall not exceed 15 percent. Codifies current DDES practice. |
| 201 | New Section | 902.3.1 | Required access | Establishes rescue window ladder access requirements for R-1 Occupancies. Codifies current DDES practice. |
| 202 | New Section | 902.4 | Key Boxes | Establishes the chief responsible for fire suppression services is authorized to require a key box. Codifies current DDES practice. |
| 203 | New Section | 903.4 | Fire Hydrant System | Clarifies that requirements for fire hydrant systems are established in KCC 17.08 |
| 205 | New Section | 1001.3 | Plans | Water-mains are to be included in submitted plans to the fire marshal’s office |
| 206 | New Section | 1001.4 | Installation acceptance Testing | Adds “watermains supplying required fire flow.” |
| 207 | New Section | 1001.5.1 | Maintenance | Provides that water based fire protection shall be maintained in accordance with NFPA 25, 1998 edition. |
| 208 | New Section | 1001.5.2 | Inspection and Testing | Adds points 1-4 updating all reference standards. To establish guidelines for inspection, testing and maintenance for water-based fire protection systems. |
| 209 | New Section | 1001.5.3 | Systems out of service | Out of service signs shall be provided so that fire suppression crews know what to do in case of fire. |
| 210 | New Section | 1001.8 | Marking of fire-protection equipment and fire hydrants | Provides directions for adequate signage for fire protection systems. |
| 211 | New Section | 1003.1.1 | General | Fire department pumper connections shall not be located on a building unless approved by the Fire Marshall. |

### UNIFORM FIRE CODE (cont.)

| Ordinance Section Number | King County Code Section Number | UFC Section Number | Section Title | Comments |
| --- | --- | --- | --- | --- |
| 212 | New Section. | 1003.1.2 | Standards | Sprinkler system connection to the fire department may be omitted when approved by fire marshal and chief. |
| 213 | New Section | 1003.1.3 | Modifications | Clarifies that alterations and additions to an existing sprinkler system with 10 or fewer heads does not need a permit if final inspection or acceptance test is witnessed by the fire marshal. |
| 214 | 17.04.01024 | 1003.2.1 | Fire-extinguishing systems – General | Removed point #2. Automatic fire extinguishing system provisions is captured in ordinance section 217 and 216. |
| 215 | New Section | 1003.2.2 | All Occ. Except group R, Div 3 and Group U Occ. | Point 6 establishes fire flow and square footage requirements for installing sprinkler systems |
| 218 | 17.04.01027 | 1003.2.10 | Fire extinguishing systems – R-3 Occ. | Point 3 allows the Fire Marshal to determine adequate fire protection per the hazard or conditions involved for R-3. |
| 219 | New Section | 1006.2.2 | Type of system | Commercial-type cooking equipment fire suppression equipment shall meet the requirements of UL Standard 300. |
| 220 | New Section | 1006.2.3.1 | General Sections | Specifications for deep fat fryers and open flames. |
| 221 | New Section | 1006.2.7 | Portable fire extinguishers | Type K fire extinguishers installed within 30 ft of grease cookers. |
| 234 | 17.04.040 | Table 7902.3-A |  | Limits storage of flammable liquids for R-1 and R-3 that are 10 gallons or more. |
| 235 | 17.04.080 | 103.4.1.1 | Enforcement, general | Establishes Fire Marshal as authority to enforce this code and penalties provisions are in K.C.C. Title 23. |
| 236 | New Section | 8707 | Asbestos removal | Fire Marshal not responsible for inspection of asbestos removal. |
| 237 | New Section |  | NFPA 72-1999 | Updates standard to 1999 version. |
| 238 | New Section |  | Standard 81-1 | Updates standard to 1999 version. |
| 239 | New Section |  | Standard 81-2 | Adoption of NFPA 13-1999 the provisions for regulation are moving from NFPA 231 to NFPA 13. |
| 240 | New Section |  | Standard 82-1 | Updates standard to 1998 version. |