Metropolitan King County Council

Physical Environment Committee

# STAFF REPORT

| AGENDA ITEM: | 6 | DATE: | September 9, 2009 |
| --- | --- | --- | --- |
| PROPOSED NO.: | 2009-0477 | PREPARED BY: | Marilyn Cope |

SUBJECT	Proposed Ordinance 2009-0477 would approve the King County Water District (the “District”) No. 49 2008 Water System Plan (the “Water Plan”).

SUMMARY

Council approval of water utility comprehensive plans is required by County Code as a prerequisite for: operating in unincorporated King County, granting right of way construction permits, granting new or renewed franchises, and service boundary annexations.

BACKGROUND

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee ("UTRC") to review and make recommendations to the Executive and County Council on the adequacy of all water system comprehensive plans and related matters, and to determine whether the plan:

- is consistent with local comprehensive plans;

- is consistent with the King County Comprehensive Plan;

- reflects current supply and demand;

- forecasts future supply and demand;

- provides a capital plan for obtaining, using, storing and conveying water and sewage;

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of King County Code Chapter 13.24, the County's approval of a plan also provides the determination for state regulatory agencies that a plan is consistent with the King County Comprehensive Plan and related policies and implementing development regulations.  See RCW 43.20.260.

UTRC ANALYSIS OF THE KING COUNTY WATER DISTRICT No. 49 WATER SYSTEM PLAN

The UTRC reviewed the District's Water Plan and found to meet the requirements of King County Code Chapter 13.24 and recommended its approval in April, 2009.  Highlights of the Water Plan as reviewed by the UTRC are outlined below:

Service Area

The District’s service area is located in the southwestern part of King County and is primarily residential and commercial in nature.  The District is bound on all sides by other water systems, including: King County Water District No. 20, King County Water District No. 125, the Highline Water District, and the Port of Seattle.  At the end of 2007, the District provided service to 3,999 residential, multi-family, and commercial connections.  Most of the multi-family connections feed multiple units from a single metered connection.  In addition to its five connections to SPU’s system, the District also has four interties: two with King County Water District No. 20 and two with the Highline Water District.

Water Use Efficiency

The District’s water supply is purchased from SPU and delivered through its Cedar and Tolt River transmission mains.  The District purchased 476.4 million gallons, of water from SPU in 2007, for an average of 1.3 million gallons per day.  The District’s average water use per equivalent residential unit was 176 gallons per day.  The District is participating with SPU and other utilities in the Saving Water Partnership, with the goal of reducing per capita water demand by one percent per year between 2000 and 2010.  The District has less than ten percent water loss across the entire system.  The District is in substantial compliance with the Washington State Department of Health’s Water Use Efficiency Rule.

Reclaimed Water and Regional Planning

The District neither collects nor treats wastewater, but its Plan identifies some opportunities for the use of reclaimed water.  Initial estimates by the Southwest Suburban Sewer District, the wastewater service provider for the area, are that the costs of producing reclaimed water exceed the likely benefits.  The District is a member of the Washington State Association of Sewer and Water Districts, which represents the District in a number of planning processes.

Capital Improvement Program

The Plan contains a six-year capital improvement program (“CIP”) with the cost estimated to be approximately $3.7 million.  The District has historically funded the CIP projects with the usual funding resources such as excess revenues from rate collection, various grant and low-interest loan programs, and revenue bonds.  Total revenues for the District in 2007 were $2,139,837.

# SEPA

# The District completed a State Environmental Policy Act checklist for the Water Plan and, as lead agency, issued a determination of non-significance for the issuance of the Water Plan on December 10. 2008.

ATTACHMENTS

- Proposed Ordinance 2009-0477