Review of the City ofAlgona Water System Plan

Service Area The City of Algona owns and operates a municipal water system that primarily serves the City as well as unincorporated lands in King County contiguous with the City. Its water system provides service to an area that is largely coincident with the city limits (1.3 square miles). The water distribution system serves the valley floors and parts of the surrounding hills to the west. The City is surrounded by adjacent water utilities including the City of Auburn on the North and East sides, the Lakehaven Utility District on the west and the City of Pacific to the south. It is unlikely the retail water service area will change in the future. The City does not hold a franchise with the County. The City owns a reservoir in unincorporated King County which is currently not operating. If the City decides to pursue rehabilitating and reopening it, under K.C.C. 6.27 the City should have a franchise. If the City abandons and removes the reservoir and related pipes that are in the right-of-way, it would not need the franchise. Real Estate Services is working with the City on this issue. Water Use Efficiency In 2013,the City’s water system provided service to a population of 3,000. The population of the City in 2032, based upon the City’s analysis of the development capacity of vacant lands, is expected to be 3,636 persons. To reach the City’s development capacity in 20 years the average annual growth rate would be 0.85 percent. Future growth within the City will be the result of filling in or redevelopment of existing developed areas. Residential and multi-family customers use about 67 percent of the system’s water with the rest used by commercial customers. The City has 1,026 equivalent residential units (ERUs), which includes 947 residents. The 2013 system-wide average daily demand for water was 0.35 million gallons (mgd). By 2032,average daily demand is projected to be 0.41 mgd. The City has an average ERU water use of 180 gallons per day, and its peaking factor is 2.5. The water use efficiency goal for the City is to emphasize water conservation and pollution prevention by 5 gallons per ERU in 5 years. The 2012 distribution system loss was approximately 1.7 and the three-year average is 1.2 percent, well within the 10 percent goal from statute. The source of the City’s water is five interties with the City of Auburn’s water system. Three interties are a primary source of supply, one serves a large Boeing facility and another is normally closed and serves as an emergency source of supply. The City’s proprietary water system includes 16 miles of piping, ranging in size from 4-inch to 12-inch. The pipe material is predominantly asbestos cement in the 4-inch to 6-inch size range. The City’s 100,000-gallon reservoir is not currently in service. The Plan contains a capital improvement plan with an estimated cost of approximately $1.58 million through 2018. The City identified funding sources for the proposed improvement projects which include rates, general facilities charges and bond proceeds. Reclaimed Water The City completed King County’s Reclaimed Water Checklist and while recognizing the value of reclaimed water, does not currently use any reclaimed water. SEPA The City completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency, issued a determination of non-significance for the issuance of the Plan on August 5, 2013. There were no appeals.

| A review of the specific statutes, rules, codes, and policies to the water system plan is as follows: |
| --- |
|  | A. General water plan, King County Code (K.C.C.) 13.24.010 | Comments/findings |
| (1) | Review is applicable to utilities that obtain or distribute water in unincorporated King County under K.C.C. 13.24. Is there a need to meet the consistency requirements of RCW 43.20.260? | Yes, the City distributes water in unincorporated King County. The City’s 100,000 gallon is located in the County. The Plan is subject to King County Council approval. The Washington State Department of Health (DOH) needs to determine consistency of the Plan under RCW 43.20.260. |
| (2) | Consistency with King County Comprehensive Plan (KCCP) and development regulations, and policies including K.C.C. 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | Yes, the Plan is consistent. |
| (3) | Infrastructure for existing and future service areas based on adopted land use map. | Yes. The City used adopted land use maps for that portion of the service area within unincorporated King County. |
| (4) | Review proposals for modified or expanded service areas based on compliance with utility’s approved plan, and ability to meet duty to serve requirement. | The City’s retail water service area was originally specified in the South King County Coordinated Water System Plan. Subsequent agreements with adjacent purveyors have resulted in the current service area. The retail service area is not expected to change in the future due to the geography of the surrounding areas and because all of the surrounding areas are currently served by other water purveyors. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates an ability to provide service consistent with applicable statutes, codes, and regulations. The City obtains its water from the City of Auburn. The City’s water supplies are sufficient to meet projected peak day demand in 2020. |
| (6) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved coordinated water system plan (CWSP). | The City’s conservation program meets minimum state requirements. |
|  | B. Consistency requirements: 13.24.060 |  |
| (7) | State and local health requirements. | Yes. |
| (8) | Creation and maintenance of logical service areas. | Yes, the service area is logical. |
| (9) | Elimination or prevention of duplicatefacilities. | Yes. |
| (10) | Promotion of most healthful and reliable services to the public. | Yes. Water purveyed by the City complies with public health standards. |
| (11) | Provision of service at a reasonable cost and maximization of use of public facilities. | Yes, the City's rates for water service are comparable to the rates charged by similar utilities. |
| (12) | KCCP and other pertinent County adopted plans and policies. | Yes, there is consistency between the City's plan and the KCCP. |
| (13) | Basin-wide or multi-basin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (Ecology) or DOH. | No multi-basin water plans are applicable. |
| (14) | Applicable state water quality, water conservation, and waste management standards. | Yes, applicable water quality standards are met. The three-year rolling average distribution system leakage (DSL) is calculated at 1.2 percent, which is less than the ten percent requirement established under the Municipal Water Law. |
| (15) | Water Resources Act (RCW 90.54). | The Plan makes no connection with the requirements of RCW 90.54.180 or RCW 90.03.386. The Citywill maintain its existing conservation (efficiency) program to comply with DOH’s Water Use Efficiency Rule. |
| (16) | Growth Management Act (GMA) (RCW 36.70A). | The City's water service area includes unincorporated urban areas. The City appropriately used King County land use zoning for these areas. |
| (17) | Groundwater management plans. | Not applicable. |
| (18) | Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | Not applicable. |
| (19) | Requirements for salmon recovery under Ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | Not applicable. |
| (20) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW and CO-7. | The City discharges to the regional wastewater treatment plant and recognizes the value of reclaimed water as a means to conserve and extend the useful life of the potable water supply. The City has evaluated reclaimed water use but does not use reclaimed water. |
|  | C: King County Comprehensive Plan—consistency with provisions and specific policies. |  |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (21) | FW-5: management of resources for multiple beneficial uses, including flood and erosion hazard reduction. | Not applicable. |
| (22) | FW-12(c): ensure sufficient water supply for growth and fish habitat needs through long-term planning. | Sufficient water supply for projected growth is available. |
| (23) | CA-5, CA-6, and E-434 and policies to protect quantity and quality of groundwater. | Not applicable. |
| (24) | CO-5: water supply shall be regionally coordinated. | Yes, the City’s water supply is regionally coordinated. |
| (25) | CO-6: aggressive conservation efforts shall be implemented. | The City’s conservation program meets minimum state requirements. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (26) | F-107: Plan for provision of services to rural areas. | The City does not provide water to the rural area. |
| (27) | F-108: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | The capital improvement program (CIP) is adequate and appropriately focused with funding sources identified. |
| (28) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the Endangered Species Act and the Clean Water Act. | Not applicable. |
| (29) | F-209: support rural levels of development and not facilitate urbanization. | The City is committed to serving the area consistent with land use. |
| (30) | F-210: capital facility plans and improvement programs for services to unincorporated King County are consistent with the KCCP. | Yes, the CIP is consistent with the KCCP. |
| (31) | F-211: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (32) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable.The City did not identify any inability to meet service needs within its service area. |
| (33) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies reuse programs. | Not applicable. The City did not identify any inability to meet service needs within its service area. |
| (34) | F-231: King County supports coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse and reclaimed water programs. | Yes, the City supports regional water supply coordination. |
| (35) | F-232: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the county for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service areas. | The City distributes water in unincorporated King County so the plan is subject to review and approval by the King County Council. The City is committed to meeting its duty to serve in its retail service area by direct service. |
| (36) | F-243: public drinking water system reservoirs and watersheds should be managed primarily to protect drinking water supplies, but allow multiple uses when not jeopardizing water quality; downstream uses including recreation, fish, and agricultural resources. | Not applicable. |
| (37) | F-244: groundwater supplies should be protected by preventing land uses that may adversely affect quantity or quality. | The Wellhead Protection Program for the City of Auburn is documented with this Plan. |
| (38) | F-246: King County supports interties that allow the transfer of water resources among water utilities to meet the projected demands for growth where such interties meet the requirements of RCW 90.03.383 and are also consistent with any applicable locally adopted comprehensive plans, regional water supply plans, adopted groundwater management plans, watershed plans, approved Coordinated Water System Plans, Endangered Species Act response requirements and Clean Water Act requirements. | The City has several interties with utilities that are consistent with locally adopted comprehensive plans for the distribution of water to meet project growth demands. |
| (39) | F-249: Utilities with more than one thousand service connections required to submit water system plans for approval to King County shall include an evaluation of reclaimed water use opportunities by completing King County’s Water Reclamation Evaluation. | The City has more than 1,000 service connections and completed King County’s Water Reclamation Evaluation Checklist. |
| (40) | F-251: In its review of water system plans, the UTRC shall consider the criteria provided in K.C.C. 13.24.010, 13.24.060, and 13.24.070, and determine the plan’s consistency with the following: a. Applicable provisions of the King County Comprehensive Plan, land use plans, and development regulations adopted under the Growth Management Act; b. Approved or adopted regional water resource plans, such as basin plans, groundwater plans, watershed-based conservation and recovery plans developed under ESA, salmon recovery plans developed under chapter 77.85 RCW, water resource plans developed under chapter 90.54 RCW, watershed plans developed under chapter 90.82 RCW, and a regional water supply plan or water resource management plan; c. The County’s Regional Wastewater Services Plan; and d. Other applicable provisions of countywide plans managed by KingCounty, as specified in UTRC Guidance or checklists. | The UTRC did consider these issues and recommends approval of the Plan. |
| (41) | F-252: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, the UTRC shall consider, in addition to Policy F-251: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in King County Code Chapter 13.28. | The City is not planning to change its service area. |
| (42) | F-253: Consistent with Countywide Planning Policies, public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds must be managed to protect downstream fish and agriculture resources. | Not applicable. |