## STAFF REPORT

| Agenda Item: | 4 | Name: | Leah Zoppi |
| --- | --- | --- | --- |
| Proposed No.: | 2014-0338 | Date: | September 2, 2014 |

SUBJECT

An ordinance approving the Skyway Water & Sewer District 2013 Comprehensive Plan.

SUMMARY

Proposed Ordinance 2014-0338 would approve the Skyway Water & Sewer District 2013 Comprehensive Plan (the Plan), meeting the requirement for a water and sewer district to operate in unincorporated King County.

BACKGROUND

The Skyway Water & Sewer District (the District) owns and operates a combined water and wastewater system primarily serves the West Hill area of unincorporated King County, southwest of Lake Washington, as well as a portion of the City of Renton.  The District is in the process of updating its franchise with the County.

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee (UTRC) to review and make recommendations to the Executive and County Council on the adequacy of all  water and sewer comprehensive plans and related matters, and to determine whether the plan:

- is consistent with the King County Comprehensive Plan,

- is consistent with local comprehensive plans,

- reflects current supply and demand,

- forecasts future supply and demand,

- provides a capital plan for obtaining, using, storing and conveying water and sewage, and

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of KCC Chapter 13.24, the County's approval also provides state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

King County Comprehensive Plan wastewater policies F-214, and F-255 through F-264 call for consistency with other adopted plans, pursuit of reclaimed water, and protection of water resources.

UTRC ANALYSIS OF Skyway Water & Sewer District 2013 Comprehensive Plan

The UTRC finalized its review of the Plan on March 19, 2014.  The UTRC found the Plan meets the requirements of KCC chapter 13.24 and recommended its approval.  Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area:  The District serves a sewer service area of approximately 2.7 square miles and 4,050 sewer connections.  The water service area is 1.8 square miles and serves approximately 3,350 water connections.  The area is primarily single-family residential with multi-family and commercial uses along major thoroughfares and industrial zoning in the southwestern area of the District.

Facilities:  The District’s water system includes six reservoirs, two pump stations, seven pressure-reducing stations and approximately 211,000 linear feet of pipe. The sewer system includes more than 147,000 linear feet of sewer mains and twelve lift stations. The District’s sewage is treated primarily at the King County South Treatment Plant.

Growth:  The District used population and employment forecasts developed by the Puget Sound Regional Council to determine future system requirements.  The District projects that in 2033 the water system will serve 12,390, up from the current population of approximately 9,089, and the sewer system will serve 20,200, up from the current population of 16,210.

System Improvements:  The Plan contains a combined water and sewer capital improvement plan with an estimated cost of $33.75 million over the next six years. The District has identified funding sources for the proposed improvement projects which include rates, general facilities charges and bond proceeds. The capital facility plan is adequate to meet anticipated facility and service needs

SEPA:  The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and issued a determination of non-significance for the Plan on September 12, 2013. There were no appeals.

ATTACHMENTS

- Proposed Ordinance 2014-0338 with attachments.

- Transmittal letter dated July 30, 2014

- Fiscal note