## STAFF REPORT

| Agenda Item: | 5 | Name: | Leah Krekel-Zoppi |
| --- | --- | --- | --- |
| Proposed No.: | 2017-0030 | Date: | February 21, 2017 |

SUBJECT

An ordinance approving the Highline Water District’s Water System Plan.

SUMMARY

Proposed Ordinance 2017-0030 would approve an update to Highline Water District Water System Plan, meeting the requirement for a water utility to provide water service in unincorporated King County.

BACKGROUND

The Highline Water District owns and operates a water system located in the south west part of King County that serves parts of the Cities of Burien, Des Moines, Kent, Federal Way, Normandy Park, SeaTac and Tukwila, as well as unincorporated King County.

King County Utility Comprehensive Plan Criteria

King County Code Chapter 13.24 requires the Utilities Technical Review Committee (UTRC) to review and make recommendations to the Executive and County Council on the adequacy of all  water and sewer comprehensive plans and related matters, and to determine whether the plan:

- is consistent with the King County Comprehensive Plan,

- is consistent with local comprehensive plans,

- reflects current supply and demand,

- forecasts future supply and demand,

- provides a capital plan for obtaining, using, storing and conveying water and sewage, and

- provides sufficient information to demonstrate the utility district’s ability to provide service consistent with all applicable laws and regulations.

In addition to satisfying the requirement of KCC Chapter 13.24, the County's approval also provides state regulatory agencies with the determination required under RCW 43.20.260 that the Plan is consistent with the King County Comprehensive Plan and implementing development regulations.

Additionally, King County has adopted a Comprehensive Plan that includes policies F-101 through F-254, the applicable portions of which address water policies for facilities and services, calling for consistency with other adopted plans, pursuit of reclaimed water, water conservation, and protection of water resources.

UTRC ANALYSIS OF Highline Water District’s Water System Plan

The UTRC finalized its review of the Plan in August 2016.  The UTRC found the Plan meets the requirements of KCC chapter 13.24 and has recommended its approval.  Highlights of the Plan, as reviewed by the UTRC, are outlined below.

Service Area:  Highline’s existing water service area boundary encompasses approximately 18 square miles in southwest King County between Interstate 5 and Puget Sound. The water system currently serves a population of approximately 70,000 people and 28,000 employees.

Supply:  Highline’s facilities include four groundwater wells. Highline purchases approximately 65 percent of the water consumed by its customers from Seattle Public Utilities. Total annual water use within the district decreased slightly from 2,457 million gallons in 2005 to 2,160 million gallons in 2013. Highline’s water plan demonstrates that the district has ample water supply to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations.

Growth: Highline has a reasonable plan for long-term water supply to meet projected growth. Countywide Planning Policy PF‐4 requires water district plans to address the potential impacts of climate change on regional water resources. Highline’s water plan does not discuss climate change impacts on water supply; however, the main water source for Highline is Seattle Public Utilities, which analyzed climate impacts on the regional water supply and developed a plan to address those impacts.

System Improvements:  Highline’s capital improvement plan (CIP) recommends improvements totaling approximately $118 million over the next 20 years. The UTRC considers the CIP adequate to meet anticipated facility and service needs.

SEPA:  Highline completed a State Environmental Policy Act (SEPA) checklist for the Plan and issued a determination of non-significance for the Plan on March 9, 2016. There were no appeals.

ATTACHMENTS

- Proposed Ordinance 2017-0030 (attachments available in the Clerk’s office)

- Transmittal Letter

- Fiscal Note