Review of the Northshore Utility District Water System Plan 2016 (the Plan)

Service Area The Northshore Utility District (District) is a special purpose district that owns and operates a water system located in the north central part of King County. The District was originally formed in 1947 as King County Water District No. 79 and operated only as a water purveyor until 1979 when it merged with the Northeast Lake Washington Sewer District. It then became known as the Northeast Lake Washington Water and Sewer District. In 1992, the name was changed to Northshore Utility District. The District previously provided water service to more than 9,000 customers in unincorporated King County. These customers have since been annexed into the surrounding cities so there is no longer any unincorporated area of King County within the District’s boundary. Within its retail service area, the District currently provides water supply to the entirety of the City of Kenmore and portions of the cities of Bothell, Lake Forest Park, and Kirkland. The District additionally provides service by agreement to the City of Bothell. With the exception of a small area within Snohomish County, the District’s retail service area is located within King County. The District’s present size is nearly 17 square miles; bordered by Lake Washington on the southwest, the Snohomish-King County line to the north, the western foothills of the Sammamish River Valley to the east, and the City of Lake Forest Park to the west. Approximately 96 percent of the use is residential, with 90 percent of the total 21,093 connections providing water to Single Family Residences. The water service area population was 67,717 in 2013. The District owns and operates a Group A water distribution and storage system. The system consists of 24 pressure zones, ranging from a hydraulic grade of 680 feet in the Lake Forest Park area to 292 feet along the shore of Lake Washington. The District’s distribution system includes 29 million gallons (mg) of storage, three booster stations, and over 279 miles of pipe, ranging from 1.5 inch to 24 inches in diameter. The District purchases all of its water from Seattle Public Utilities (SPU). In 2005, the District and SPU executed a new block wholesale contract with an expiration date of 2062. Between 2006 and 2013, the District consumed 5.11 million gallons of water per day (mgd) on average, with a peak day of 6.53 mgd and a peaking factor of 1.28. The average daily residential water consumption per capita (gpcd) from 2006-2013 was 63.8 gpcd. The District meets the minimum water use efficiency goals established by the State. The District’s Capital Improvement Plan recommends improvements totaling approximately $24.9 million over a twenty-year period. Approximately $4.5 million in improvements is planned over the next six years, and an additional $13.4 million in the following four years, totaling $17.9 million in that ten-year period. The District preferred method(s) of funding are rates, general facility charges, system development charges, and grants. Reclaimed Water The District completed King County’s Water Reclamation Evaluation Checklist and, though not cost effective at this time, has discussed potential opportunities with King County for uses of reclaimed water from Brightwater Treatment Plant. SEPA The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency under SEPA, issued a determination of nonsignificance for the approval of the Plan on July 15, 2015. There were no appeals.

|  | A. General, water and sewer plan specific King County Code (KCC) 13.24.010 | Comments/findings |
| --- | --- | --- |
| (1) | RCW 57.16.010 requires that general comprehensive plans by special purpose districts be submitted to, and approved by, the legislative authority within whose boundaries all or a portion of a utility lies. The King County Code is applicable to water utilities that obtain or distribute water in unincorporated areas of King County. | The District is authorized under chapter 57.16 RCW and so review and approval of the plan by Council is required by statute. The District does not distribute water in unincorporated areas of King County. |
| (2) | Water system plans should be submitted every six years or sooner if required by the Washington State Department of Health (DOH). | The District’s last water plan was submitted in 2008. The District submitted the Plan to the DOH in 2016 and will seek approval of the Plan. |
| (3) | The infrastructure for existing and future service areas based on adopted land use map. | Not applicable. |
| (4) | The Plan contains sufficient information to demonstrate the ability to provide services consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates that the District has ample water supply to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. |
| (5) | The Plan is consistent with Washington Administrative Code (WAC) 246-290-100 for the water service. | Yes, the Plan is consistent with the applicable rules. |
|  | B. Consistency requirements: 13.24.060 |  |
| (6) | King County Code related to the installation of fire hydrants and water mains. | Yes, the Plan proposes to provide adequate fire flow for the urban areas. |
| (7) | State and local health requirements. | The Plan has not yet been approved by DOH. The UTRC review process included a representative of Public Health-Seattle and King County. |
| (8) | Elimination or prevention of duplicate facilities. | The District has written agreements with other water providers regarding areas to be served in order to avoid overlapping jurisdiction and to ensure efficiency in the use of existing facilities. |
| (9) | Promotion of most healthful and reliable services to the public. | Yes. |
| (10) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Currently, the District charges a rate that is in the affordable range. |
|  | C. King County Comprehensive Plan (KCCP) – consistency with provisions and specific policies |  |
| (11) | Consistency with the KCCP and applicable County plans and policies including the Flood Hazard Management Plan and Emergency Response Plan. | Yes, the Plan is consistent with the applicable comprehensive plans and policies. |
| (12) | Consistency with the Coordinated Water System Plans adopted in KCC 13.28. | Yes, the Plan is consistent with the East King County Coordinated Water System Plan. The District does not expect to expand its service area. |
| (13) | Basin-wide or multi-basin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology or the Washington State Department of Health. | The District acknowledges that salmon recovery plans are in place and the relevance of Endangered Species Act listings. |
| (14) | Applicable state water quality, water conservation (e.g., chapter 90.54 RCW and RCW 90.48.495), and waste management standards. | Yes. The District implements the minimum water conservation program. The 2015 three-year annual average distribution system loss is 2.1 percent, which is below the 10 percent State standard. |
| (15) | Growth Management Act; chapter 36.70A RCW. | Yes, the Plan is consistent with the Growth Management Act. See specific policies below. |
| (16) | Groundwater Management Plans. | Not applicable. |
| (17) | Federally-approved habitat conservation plans and recovery plans under Endangered Species Act, and other plans, including regional water supply or water resource management plans. | The District is aware of, and supports, the planning done for the Lake Washington Cedar Sammamish Salmon Conservation and Restoration Plan. There is no active applicable regional water supply plan. |
| (18) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | Yes, the District evaluated reclaimed water use opportunities. |
| (19) | State Environmental Policy Act (SEPA) documentation. | The District completed a SEPA checklist and issued a determination of nonsignificance for approval of the plan on July 15, 2015, with no appeals. |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (20) | DP‐13: All jurisdictions shall plan to accommodate housing and employment targets. This includes: “Coordinating water, sewer, transportation and other infrastructure plans and investments among agencies, including special purpose districts;…”. | Yes, the District does this in coordination with the cities of Kenmore, Bothell, Kirkland, and Lake Forest Park. |
| (21) | PF‐4: Develop plans for long‐term water provision to support growth and to address the potential impacts of climate change on regional water resources. | The District obtains water supply from the Tolt and Cedar supply pipelines, via Seattle Public Utilities, for which it has executed a new block wholesale contract that will expire in 2062. Coupled with conservation programs and a Snohomish River Regional Water Authority water right, the District has a reasonable plan for long-term water supply to meet projected growth. The Plan does not discuss climate change impacts on water supply. |
| (22) | PF‐5: Support efforts to ensure that all consumers have access to a safe, reliably maintained, and sustainable drinking water source that meets present and future needs. | Yes, the District does this. |
| (23) | PF‐6: Coordinate water supply among local jurisdictions, tribal governments, and water purveyors to provide reliable and cost‐effective sources of water for all users, including residents, businesses, fire districts, and aquatic species. | The District has agreements in place with the Cities of Kirkland and Bothell regarding utility coordination. |
| (24) | PF‐7: Plan and locate water systems in the Rural Area that are appropriate for rural uses and densities and do not increase the development potential of the Rural Area. | Not applicable. |
| (25) | PF‐8: Recognize and support agreements with water purveyors in adjacent cities and counties to promote effective conveyance of water supplies and to secure adequate supplies for emergencies. | The District has agreements with neighboring utilities for emergency response. |
| (26) | PF‐9: Implement water conservation and efficiency efforts to protect natural resources, reduce environmental impacts, and support a sustainable long‐term water supply to serve the growing population. | The District’s three-year average distribution system loss is 2.1 percent which is below the action level of 10 percent. |
| (27) | PF‐10: Encourage water reuse and reclamation, especially for high‐volume non‐potable water users such as parks, schools, and golf courses. | See 18. The District completed King County’s Water Reclamation Evaluation Checklist. Use of reclaimed water is not cost effective at this time. |
|  | KING COUNTY COMPREHENSIVE PLAN (KCCP) POLICIES |  |
| (28) | F-107: Plan for provision of services to rural areas. | Not applicable. |
| (29) | F-108: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | The District’s capital improvement program (CIP) is adequate and appropriately focused with funding sources identified. |
| (30) | F-201: All facilities and services should be provided in compliance with provisions and requirements of the Endangered Species Act (ESA) and the Clean Water Act. | Yes, to the extent known, facilities and service are provided consistent with the federal laws. |
| (31) | F-209: Support rural levels of development and not facilitate urbanization. | Not applicable. |
| (32) | F-210: Capital facility plans and improvement programs for services to unincorporated King County are consistent with the KCCP. | Not applicable. |
| (33) | F-211: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (34) | F-221: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (35) | F-223: If a service deficiency is identified in a service provider's existing service area, King County and the applicable service provider shall remedy the deficiency through a joint planning process addressing capital improvement programs and long-term funding strategies reuse programs. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (36) | F-231: King County supports coordination of regional water supply planning, sales of excess water supplies among municipalities in the region, water quality programs and water conservation, reuse and reclaimed water programs. | Yes, the District supports regional water supply coordination. |
| (37) | F-232: Water utilities that obtain water from, or distribute water in unincorporated King County, and water utilities formed as special purpose districts under Title 57 RCW are required to submit water system plans to the County for review and approval and shall describe in their plans how they intend to meet their duty to provide service within their retail service areas. | The District is a special purpose district authorized under Title 57 RCW and so review and approval of the plan by the County is appropriate. The District does not distribute water in unincorporated areas of the county. The District did describe service area policies for its retail service area. |
| (38) | F-248 King County shall partner with utilities to publicize water conservation and encourage best management practices that conserve potable water supply through measures that include use of alternative supplies such as reclaimed water. | Yes, the County will do this. |
| (39) | F-246: King County supports interties that allow the transfer of water resources among water utilities to meet the projected demands for growth where such interties meet the requirements of RCW 90.03.383 and are also consistent with any applicable locally adopted comprehensive plans, regional water supply plans, adopted groundwater management plans, watershed plans, approved Coordinated Water System Plans, and response requirements of ESA and Clean Water Act. | The Plan is consistent with the East King County Coordinated Water System Plan. The District has altered its planning area and retail service area over time in light of annexations. |
| (40) | F-249: Utilities with more than one thousand service connections required to submit water system plans for approval to King County shall include an evaluation of reclaimed water use opportunities by completing King County’s Water Reclamation Evaluation. | The District did an evaluation of reclaimed water use. Reclaimed water use is not feasible at this time. |
| (41) | F-251: In its review of water system plans, the UTRC shall consider the criteria provided in KCC 13.24.010, 13.24.060, and 13.24.070, and determine the plan’s consistency with the following: a. Applicable provisions of the King County Comprehensive Plan, land use plans, and development regulations adopted under the Growth Management Act; b. Approved or adopted regional water resource plans, such as basin plans, groundwater plans, watershed-based conservation and recovery plans developed under ESA, salmon recovery plans developed under chapter 77.85 RCW, water resource plans developed under chapter 90.54 RCW, watershed plans developed under chapter 90.82 RCW, and a regional water supply plan or water resource management plan; c. The County’s Regional Wastewater Services Plan; and d. Other applicable provisions of countywide plans managed by King County, as specified in UTRC Guidance or checklists. | The UTRC did consider these issues and recommends approval of the Plan. |
| (42) | F-252: In reviewing proposals for modified and expanded service area boundaries for municipal water suppliers, the UTRC shall consider, in addition to Policy F-251: a. Compliance by the water system with its water system comprehensive plan, including water conservation elements; b. Whether it can meet its duty to provide service within its service area, as required under chapter 43.20 RCW; and c. Consistency with the service provisions of any applicable Coordinated Water System Plan, as adopted in King County Code Chapter 13.28. | The District is not planning to change its service area. |
| (43) | F-253: Consistent with Countywide Planning Policies, public drinking water system surface water reservoirs and their watersheds should be managed primarily for the protection of drinking water, but should allow for multiple uses, including recreation, when such uses do not jeopardize drinking water quality standards. Public watersheds must be managed to protect downstream fish and agriculture resources. | Not applicable as the District obtains water from the regional supply system owned by Seattle Public Utilities. |
| (44) | F-254: Groundwater-based public water supplies should be protected by preventing land uses that may adversely affect groundwater quality or quantity to the extent that the supply might be jeopardized. The County shall protect the quality and quantity of groundwater used as water supplies through implementation of Policies E-493 through E-497 where applicable. | Not applicable |