Review of Midway Sewer District General Sewer Plan June 2018

Service Area The Midway Sewer District (District) is in south King County, between the cities of Seattle and Tacoma. The District is bound by the Puget Sound and 8th Avenue South to the west, SeaTac International Airport (Airport) to the north near South 188th Street and South 176th Street, Interstate Highway 5 to the east, and South 276th Street to the south. The District is primarily residential with some commercial and industrial areas. The District's service area is 10 square miles and includes portions of the cities of SeaTac, Des Moines, Normandy Park, Burien, Federal Way, and Kent. The District owns, operates, and manages all wastewater collection, conveyance, and treatment facilities within its service area. Wastewater collection facilities include gravity sewers, sewer force mains, siphons, and pump stations that convey wastewater to the District's Des Moines Creek wastewater treatment plant (WWTP). The District's entire service area is entirely within the King County urban growth area boundary. Sewer System The District owns, operates, and manages all wastewater collection, conveyance, and treatment facilities within its service area. The District's wastewater collection facilities include gravity sewers, sewer force mains, siphons, and pump stations that convey wastewater to the District's Des Moines Creek WWTP. The WWTP consists of a headworks with perforated-plate screens, grit removal, primary clarifiers, trickling filters, solids contact tank, secondary clarifiers, UV disinfection system, gravity thickening, anaerobic digesters, and sludge dewatering. The District currently serves a population of approximately 47,000. The District's Capital Improvement Plan for conveyance and treatment improvements projects expenditures of $38,600,00 over the next six-year time period. Reclaimed Water The District has evaluated potential customers for reclaimed water produced at the Des Moines Creek WWTP and has not found substantial demand within the District collection system area. Furthermore, the Des Moines Creek WWTP is not configured to produce reclaimed water and would require costly upgrades to implement nutrient removal and tertiary filtration to produce reclaimed water. The District determined that production and distribution of reclaimed water would not be cost feasible or cost effective over the course of the 20-year planning horizon of this plan. SEPA The District completed a State Environmental Policy Act (SEPA) checklist for the Plan and, as lead agency under SEPA, issued a determination of nonsignificance for the approval of the Plan on May 9, 2018. There were no appeals.

| A review of the specific statutes, rules, codes, and policies to the water system plan is as follows: |
| --- |
|  | A. General and sewer plan-specific requirements of King County Code (KCC) 13.24.010 | Comments/findings |
| (1) | Review and approval by the King County Council is applicable to special purpose districts under Revised Code of Washington (RCW) 57.16.010(6); and Sewer districts that provide sewer collection or treatment in unincorporated areas of King County. | The review and approval of the Midway Sewer District (District) 2018 Comprehensive Sewer System Plan (Plan) is required as the District is a special purpose district authorized by, and operated under, Title 57 RCW. The District does not provide service in unincorporated King County. |
| (2) | The Plan shall be consistent with the King County Comprehensive Plan and development regulations and policies. | Yes. See below for details. For the Countywide Planning Policies and the King County Comprehensive Plan, the applicable policies are listed along with the policy or operational activity the District takes related to the policy. |
| (3) | The Plan shall be adopted by that entity and approved by the King County Council as a prerequisite for the following: Operating in unincorporated King County; Approval of annexation proposals; Granting of new right-of-way franchises and right-of-way franchise renewals; and Approval of right-of-way construction permits, except for emergency permits issued under KCC 14.44.055. | The District Commissioners adopted the Plan prior to submission to the County for approval. Historically the District's service area included urban unincorporated areas. The District held Franchise 12250 (expires May 6, 2021). All those unincorporated areas have since been annexed into cities. Midway informed the Facilities Management Division in 2014 that it no longer had any service area in unincorporated King County. The franchise agreement (#12250) states, ". . . this franchise shall continue in force and effect until such time as the incorporation and/or annexation is complete according to applicable State law, after which time the County will no longer have any responsibility for maintenance of any County roads, rights-of-way or other County property within the area of annexation/incorporation. " Accordingly, the franchise is no longer considered active or effective. |
| (4) | Plans should be submitted every six years or sooner if required by the Washington State Department of Ecology (DOE), or whenever sewer conditions have changed significantly within sewer service area. | The District's last wastewater plan is dated 2008 and was approved in 2010 by King County Ordinance 16926. |
| (5) | Infrastructure for existing and future service areas based on adopted land use map. | Not applicable as there is no service area in unincorporated King County. |
| (6) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes. See below for details as to existing facilities and plans for improvements. The District used a system hydraulic model to evaluate its collection capacity and concluded that there is adequate capacity to accommodate peak flows and anticipated growth for the next six and 20-year forecasts. |
| (7) | Consistent with Washington Administrative Code (WAC) 173-240-050. | Yes. DOE has provided comments to the District on the plan but has not approved it. |
| (8) | Discuss the following: Existing and planned flows, average and peak; Existing and planned flows for any basin discharging into the County system; Amounts of inflow and infiltration (I/I), in comparison with County standard of 1,100 gallons per-acre-per-day (gpad) and steps being taken to reduce; Areas of concern regarding corrosion and odor control, and steps being taken; and Opportunities for reclaimed water. | The existing and planned for flows were developed with a standard method and are reasonable. The District does not discharge to the regional system. The District plans to upgrade facilities and address possible I/I problems. There were no issues identified with either corrosion or odor control. The District is supportive of reclaimed water opportunities and works with the Highline Water District to evaluate potential reclaimed water users within the service area. To date, the District has not identified any customers where it would be appropriate and cost-effective to provide them with reclaimed water. |
|  | B. Public Sewer Service: 13.24.035 |  |
| (9) | All developments within Urban Growth Area (UGA) served by sewer unless on-site are allowed as temporary per KCC 13.24.136 and 13.08.070. | Yes, the District understands its service area is entirely within the UGA and anticipates providing sewer service within its entire service area for new development. There are approximately 1.2 square miles of area within the District not served by sewers. The District is planning to serve those users if on-site systems fail. The District is supportive of property owner-initiated utility local improvement districts; however, there is no proactive program to convert existing on-site systems to the sewer system. The District anticipates the residential population served will grow from 46,608 in 2017 to approximately 63,700 by 2037. The number of employees working in the District's service area are expected to increase from 28,521 in 2017 to 51,782 in 2037. |
| (10) | Required elements of a sewerage general plan, as called for in RCW 36.94.010(3), are included in King County Comprehensive Plan and Technical Appendix. | The Plan has the general location and description of treatment and disposal facilities, trunk and interceptor sewers, pumping stations, monitoring and control facilities, channels, local service areas, and a general description of the collection system to serve the service area. The Plan also contains preliminary engineering in adequate detail to assure technical feasibility and, to the extent known, discusses the methods of distributing the cost and expense of the system and the economic feasibility of plan implementation. |
|  | C. Consistency requirements: 13.24.060 |  |
| (11) | State and local health requirements. | The Plan was reviewed by DOE and approval is pending. The Utilities Technical Review Committee (UTRC) review process included a representative of Public Health - Seattle & King County. |
| (12) | Elimination or prevention of duplicate facilities and a reduction of number of entities providing sewer service in King County. | The District has written agreements with local general-purpose governments and other sewer providers as to areas to be served in order to avoid overlapping jurisdiction. No other entities provide sewer service within the service area. |
| (13) | Promotion of most healthful and reliable services to the public. | Yes. |
| (14) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Sewer rates appear reasonable. |
| (15) | Basin wide or multibasin water plans, sewerage plans, or both when approved by DOE or Washington State Department of Health. | The Plan does not refer to the participation of the District with basin wide or multibasin water plans, or sewerage plans. No regional water supply plan is applicable. The District is aware of, and supports, the planning done in the Green River basin for salmon recovery purposes. |
| (16) | Applicable state water quality, water conservation (e.g., RCW 90.48.495), and waste management standards. | Yes, the treatment plant operated by the District meets permit requirements. There is no indication in the Plan as to whether the planned water conservation efforts of water purveyors would reduce flows into the District's sewerage system or have any impact on its conveyance capacity. |
| (17) | Growth Management Act (GMA), chapter 36.70A RCW. | Yes, the Plan is consistent with the King County Comprehensive Plan and development regulations used to implement the GMA. |
| (18) | Groundwater Management Plans. | Groundwater quality will be protected as homeowners on existing on-site septic systems connect to the sewer system. |
| (19) | Federally-approved habitat conservation plans and recovery plans under Endangered Species Act. | The District recognizes its responsibility to avoid take of an endangered species in its operations to treat and dispose of wastewater. |
| (20) | Requirements for salmon recovery under RCW 77.85, and other plans, including regional water supply or water resource management plans. | The Plan does not refer to the participation of the District with salmon recovery efforts within the watershed. No regional water supply plan is applicable. |
| (21) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW. | The District has evaluated potential customers for potential reclaimed water use from the Des Moines Creek wastewater treatment plant and has not found substantial demand within the District collection system area. |
| (22) | State Environmental Policy Act documentation. | Determination of Nonsignificance issued by the District on May 9, 2018, with no appeals. |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (23) | CA-5 and CA-6: adopt policies to protect quantity and quality of groundwater. | There are an estimated 120-140 existing onsite septic systems within the service area. Connection of houses and businesses with on-site septic to the District's sewer system should reduce health risks from any failing septic systems. |
| (24) | CO-7: water reuse and reclamation shall be encouraged, especially for high water users. | See number 21 above. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (25) | F-104: plan for provision of services to rural areas. | No rural areas within the District. |
| (26) | E-105: protect critical habitat. | Yes. The District plans to upgrade facilities and address possible I/I problems. This should reduce discharges and assist in improving the water quality of the Puget Sound. |
| (27) | E-434: management and protection of water resources by King County through incentives, regulations, and programs. | The Highline Water District has four groundwater production wells within the sewer service area. The District does protect water resource quality through a well run system. |
| (28) | E-466: protect groundwater and develop strategies to compensate or mitigate for losses. | See numbers 23 and 26 above. |
| (29) | E-477: protect and enhance surface waters, including Puget Sound. | See 23, 26, and 27 above. |
| (30) | F-105: work with cities and service providers to provide services. | Yes, the District provides service within six cities and at the airport and coordinates with those service providers. |
| (31) | F-202: ensure adequate supply of public facilities to support communities. | Yes. The District used information from the most recent comprehensive plans of the jurisdictions it overlays. |
| (32) | F-203: work with cities, special purpose utilities, and other service providers to define regional and local services and determine appropriate providers. | Yes, King County will work with the District to define the regional and local services if needed. The District has written agreements with most of the local governments regarding service provisions. |
| (33) | F-207: funding for growth should support facilities needed within UGAs, prioritized and coordinated through capital improvement programs (CIP), to comply with concurrency requirements. | Funding sources are identified to support identified needs, including facilities to serve anticipated population growth under local comprehensive plans. Developer extension agreements are anticipated to be the major source of funding for system expansion. |
| (34) | F-208: support rural levels of development and not facilitate urbanization. | There are no rural areas within the District. |
| (35) | F-210: coordinate development of utility facilities. | Yes. |
| (36) | F-212: King County's CIP demonstrates that projected needs for facilities and services can be met within the UGA in compliance with concurrency requirements; where not possible, identify strategies including phasing and financing. | The District's CIP identifies facilities and a funding strategy to ensure that it will meet anticipated demands. |
| (37) | F-213: water and sewer utilities that provide services to unincorporated King County shall prepare capital facility plans consistent with requirements of Growth Management Act and King County Comprehensive Plan. | Not applicable as the District does not serve in unincorporated King County. |
| (38) | F-215 and F-217: where an area wide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | Not applicable as no deficiency was identified. |
| (39) | F-245: all development within UGA to be served by public sewers, with some exceptions. | Yes, the policy is being implemented. |
| (40) | F-246: King County and sewer utilities should jointly plan for phasing out of on-site systems within UGA. | The District anticipates its entire service area being served by sewers but recognizes the existing 120 – 140 existing onsite septic systems will not all convert to sewer service. |
| (41) | F-252: King County should monitor failing on-site systems and analyze options that may include connecting to sewerage systems where consistent with the King County Comprehensive Plan. | There is not a significant number of failing on-site systems within the District's service area. |