Metropolitan King County Council

Growth Management and Natural Resources Committee

# STAFF REPORT

| AGENDA ITEM: | 15 | DATE: | May 9, 2006 |
| --- | --- | --- | --- |
| PROPOSED NO.: | 2006-0025 | PREPARED BY: | Mike Reed |

SUBJECT:	Regional Infiltration/Inflow Control Program: Program Recommendations

SUMMARY:

The region’s wastewater conveyance system was developed over the last several decades; while most of the system has the necessary capacity to convey anticipated wastewater flow into the future, there are portions of the system that are near capacity during periods of peak flow.  With growth over time, these parts of the system may not have sufficient capacity to transmit peak wastewater flows, increasing the risk of wastewater back-ups and overflows.  Recognition of this concern led to discussions, through the Regional Wastewater Services Plan, of means to address these capacity issues.  In particular, the King County Council approved ‘infiltration/inflow’ (I/I) control policies as part of the Regional Wastewater Services Plan in 1999, establishing the framework for development of a long-term I/I control program.  In 2000, a comprehensive 6-year I/I control study began, including components to define levels of I/I for local wastewater agencies, develop pilot projects to demonstrate cost-effectiveness of rehabilitation projects, develop I/I standards, guidelines, procedures and policies for local agencies, identify cost-effective options to remove I/I for local agencies, and develop a long-term I/I control plan for consideration by the King County Council.

Infiltration and Inflow

Infiltration and inflow of stormwater into the regional wastewater conveyance system has been identified as a significant contributor to the flow volumes conveyed by the system, stressing conveyance capacity.  Infiltration--clean stormwater, and inflow—clean groundwater, enter the wastewater system through cracked pipes, leaky manholes, or improperly connected storm drains, downspouts and sump pumps.  About 75% of the region’s peak flows in the separated conveyance system comes from infiltration/inflow, it is estimated.  Flow volumes can quadruple during storms when the conveyance system handles both the base flow and infiltration/inflow.

The Regional Wastewater Services Plan states that the county will reduce infiltration/inflow ‘whenever the cost of rehabilitation is less than the cost of conveying and treating the flow, or when rehabilitation provides significant environmental benefits to water quantity, water quality, stream flows, wetlands or habitat for species listed under the Endangered Species Act (ESA).’

In order to establish a baseline for measuring costs against benefits of I/I reduction projects, the County and local agencies, working through the Metropolitan Water Pollution Abatement Advisory Committee (MWPAAC), developed a Regional Needs Assessment Report which identifies needed conveyance system improvements—a list of 63 projects and improvements to the system needed through 2050.

Capacity needs can be met either by expanding the capacity of the system, or by first reducing flows conveyed by the system, thereby reducing the needs for expansion.  A separate Alternatives/Options Report identified a set of alternative approaches to controlling regional infiltration and inflow, resulting from the six-year I/I control study, directed at identifying sources of I/I, testing the effectiveness of various control technologies, examining benefits and costs, and preparing a regional plan for reducing I/I in local agency collection systems.  These two reports provide the tools necessary for comparison of alternatives in a benefits/cost review effort.  Based on these reports and continuing review, the study has prepared recommended infiltration/inflow control program recommendations.

Recommended Infiltration/Inflow Control Program

The following recommendations represent the consensus reached by the county and local agencies through the study effort.  They include both I/I reduction, and long-term I/I control.

- Select 2-3 initial I/I reduction projects from list of 9 identified cost-effective projects; construct initial projects over 3-5 years to test planning assumptions and to gain cost information.

- Fund initial projects through wastewater revenue intended for conveyance system improvements (CSI); conduct pre- and post-project flow monitoring to test the ability of reduction projects to reduce flow to delay, downsize or eliminate need for CSI projects.

- If initial projects are deemed successful and future I/I reduction is approved, proceed to apply I/I reduction planning to all CSI project planning.  Where an  I/I reduction project is a cost-effective alternative to the planned CSI project, the I/I project would be implemented if it’s environmentally and logistically feasible.

- Utilize local agency regulations to ensure that development within the regional wastewater service area meets current construction standards for sewer conveyance lines and connections.

- Apply standards, guidelines, procedures and policies to initial I/I reduction projects; once tested on large-scale projects, review and finalize by local agencies, prepare them for adoption as a county ordinance.

- Conduct a ‘system flow’ audit of regional and local systems every 10 years to track I/I levels.

- Authorize the county to centrally manage the I/I control program.

The county’s I/I Control Program Manager is present to provide an overview of the study and recommendations.

ATTENDING:

Mark Buscher, King County I/I Control Program Manager

ATTACHMENTS:

- Proposed Motion 2006-0025, with attachment

Attachment A. Executive's Recommended Regional Infiltration and Inflow Control Program -- December 2005

- December 29, 2005 Transmittal Letter