| UTRC Review of the Shoreline Water District 2007 Water System Plan |
| --- |
| A review of the specific statutes, rules, codes, and polices to the District’s plan is as follows: |
|  | A. General and water and sewer plan: King County Code (KCC) 13.24.010; 13.28 | Comments/findings |
| (1) | Review is applicable to special purpose districts organized under Title 57 Revised Code of Washington (RCW), water utilities distributing or obtaining water in unincorporated King County, and/or utilities that distribute water within a Critical Water Supply Service Area (ch. 70.116 RCW). Is there a need to meet the consistency requirements of RCW 43.20.260? | Yes, the District’s comprehensive water plan (Plan) is subject to King County Council approval under Title 57 RCW, and chapter 70.116 RCW. The District provides water service within the area covered by the East King County Coordinated Water System Plan (CWSP). The District also needs to demonstrate consistency for the Plan under RCW 43.20.260. |
| (2) | Consistency with King County Comprehensive Plan and Development regulations, and policies including KCC 21A.28.040 development standards, provision of adequate supplies for anticipated growth and development. | Yes, the District’s 2007 Plan is consistent. |
| (3) | Infrastructure for existing and future service areas based on adopted land use map. | Not applicable. The District’s service area includes only lands within the incorporated cities of Lake Forest Park and Shoreline. |
| (4) | Review proposals for modified or expanded service areas based on compliance with utility’s approved plan, and ability to meet duty to serve requirement. | Not applicable. The District’s service area is within the planning area identified in the East King County CWSP. The service area is unique and includes parts of the cities of Shoreline and Lake Forest Park. The service area has not changed recently and is not expected to change. |
| (5) | Sufficient information to demonstrate the ability to provide service consistent with the requirements of all applicable statutes, codes, rules, and regulations. | Yes, the Plan demonstrates an ability to provide service consistent with applicable statutes, codes and regulations. The District obtains its water from Seattle Public Utilities (SPU) through its Tolt River Distribution Main. The projected maximum day demand in 2025 is approximately 4.16 mgd without conservation and 3.96 mgd with conservation. |
| (6) | Monitor and review effectiveness of purveyor conservation plans if within area covered by an approved CWSP. | The Plan is consistent with the East King County CWSP for the service area and conservation requirements. The District participates, along with Seattle and other water utilities, in the Saving Water Partnership with the regional goal of per capita savings of one percent per year through 2010. The District’s water use efficiency plan is organized to conform to the requirements of the Water Use Efficiency Rule. |
|  | B. Consistency requirements: 13.24.060 |  |
| (7) | State and local health requirements. | Yes. |
| (8) | Creation and maintenance of logical service areas. | Yes, the service area is logical. The District’s boundaries are fairly well fixed, with other utilities abutting them, and not expected to change. |
| (9) | Elimination or prevention of duplicate facilities. | Yes. The District prefers to provide service within its service area by means of direct connection. The District will consider providing satellite management services but has not been approached to do so. The District has entered into agreements with a neighboring water utility (Mountlake Terrace) to provide emergency supplies through interties. |
| (10) | Promotion of most healthful and reliable services to the public. | Yes. A hydraulic analysis performed for the District shows that, although the District has some storage problems, if they are remedied, the District’s water distribution system has sufficient capacity to meet peak day and peak hour demand through the six- and 20-year planning periods. The District has a contract for a 60-year supply of water from SPU. The hydraulic analysis of the District’s system identifies the need for improvements to the distribution system, particularly the replacement of undersized water mains to improve pressure and velocity conditions. Water purveyed by the District complies with public health standards. |
| (11) | Provision of service at a reasonable cost, and maximization of use of public facilities. | Yes, the District’s rates for water service are comparable to the rates charged by similar utilities. The District has adopted a graduated rate structure to encourage efficiency of water use. |
| (12) | King County Comprehensive Plan and other pertinent county adopted plans and policies. | Yes, there is consistency between the District’s Plan and the King County Comprehensive Plan. |
| (13) | Basin-wide or multibasin water plans, sewerage plans, or both when approved by the Washington State Department of Ecology (DOE) or Washington State Department of Health (DOH). | The District participated in the development of the East King County CWSP. The Plan is consistent with the East King County CWSP. The District neither collects nor treats wastewater. |

| (14) | Applicable state water quality, water conservation, and waste management standards. | Yes, applicable standards are met. The District receives treated water from SPU but also provides additional testing to ensure that the water meets all water quality standards. The District’s water use per ERU is 168 gpd. The peaking factor of 2.2 is slightly higher than DOH’s standard. The District’s conservation activities should reduce the peaking number. The District’s distribution system loss (non-revenue or unaccounted-for water) has averaged four percent over the years 2001-2005, but that number is probably low due to underreporting by meters that were replaced in 2003. The District is committed to staying below the ten percent standard in the Water Use Efficiency rule. The District is participating in the Saving Water Partnership’s regional effort to save 11 mgd between 2000 and 2010, and another 15 mgd by the year 2030. |
| --- | --- | --- |
| (15) | Water Resources Act (RCW 90.54). | The District’s conservation program is still in its early stages, with the main part being the data collection element. The District’s Water Use Efficiency Plan is organized to conform to the requirements of the Water Use Efficiency Rule adopted by DOH. The Plan makes no connection between the District’s conservation program and the requirements of RCWs 90.54.180 and 90.03.386. |
| (16) | Growth Management Act (GMA) (RCW 36.70A). | Yes, the District affirms it can meet the population target policies from the Growth Management Planning Council for the two cites served. The six-year portion of the CIP identifies any public money they may need for capital facilities. |
| (17) | Ground water management plans. | Not applicable. The District receives all of its water supply from SPU. |
| (18) | Federally approved habitat conservation plans and recovery plans under the Endangered Species Act (ESA). | Not applicable. |
| (19) | Requirements for salmon recovery under ch. 77.85 RCW, and other plans, including regional water supply or water resource management plans. | Requirements for salmon recovery under chapter 77.85 RCW are not applicable. The East King County CWSP is applicable and the Plan is consistent with that regional plan. |

| (20) | Applicable requirements to evaluate opportunities for the use of reclaimed water under chapter 90.46 RCW and CO-7. | The Plan and supplemental information included the reclaimed water information as required by chapter 90.46 RCW. |
| --- | --- | --- |
|  | C. King County Comprehensive Plan—consistency with provisions and specific policies (Water System Plan) |  |
|  | COUNTYWIDE PLANNING POLICIES |  |
| (21) | FW-5: management of resources for multiple beneficial uses, including flood and erosion hazard reduction. | Not applicable. |
| (22) | FW-12(c): ensure sufficient water supply for growth and fish habitat needs through long-term planning. | Yes, sufficient water supply for projected growth is available. There is no apparent linkage and little relevance of the Plan to fish habitat needs. |
| (23) | CA-5, CA-6, and E-434 and policies to protect quantity and quality of ground water. | Not applicable. The District does not use ground water. |
| (24) | CO-5: water supply shall be regionally coordinated. | Yes, the District’s supply is regionally coordinated as when it purchases its water from SPU. The District took part in the development of the East King County CWSP. Also, apart from its agreement with Seattle for its main water supply, the District has an agreement with a neighboring community (Mountlake Terrace) for emergency supplies. |
| (25) | CO-6: aggressive conservation efforts shall be implemented. | The District has organized its conservation program to conform to the requirements of the Water Use Efficiency Rule adopted by DOH. The District also participates in the SPU’s Water Saving Partnership along with Seattle and 16 other water utilities. |
|  | KING COUNTY COMPREHENSIVE PLAN POLICIES |  |
| (26) | F-102: King County will provide or manage countywide services, which include wastewater, water resource management, surface water management, flood warning and floodplain management, protection and preservation of natural resource lands. | Yes, although the District’s service area does not include any areas that are unincorporated. |
| (27) | F-104: plan for provision of services to rural areas. | Not applicable. The District provides water to parts of two cities. |

| (28) | F-105: King County to work with cities and service providers to establish priority areas for public funding of capital facilities. | The capital facilities plan is appropriately focused and adequate. |
| --- | --- | --- |
| (29) | F-201: all facilities and services should be provided in compliance with provisions and requirements of the ESA. | Yes. |
| (30) | F-202: ensure adequate supply of public facilities to support communities. | Yes, the District has sufficient water supplies and has an arrangement for emergency supply from an adjacent community. |
| (31) | F-203: King County will work with cities, special purpose districts, and other service providers to define regional and local services and determine appropriate providers. | Yes. |
| (32) | F-208: support rural levels of development and not facilitate urbanization. | Not applicable. The District’s service area is entirely within the Urban Growth Area (UGA). |
| (33) | F-209 and F-212: capital facility plans and improvement programs for services to unincorporated King County are consistent with King County Comprehensive Plan. | Yes, the capital facility plan is consistent with the King County Comprehensive Plan. |
| (34) | F-210: King County helps coordinate development of utility facilities. | Yes, to the extent applicable, King County will do this. |
| (35) | F-215: King County shall initiate a sub-area planning process with any service provider that declares, in its capital facilities plan, an inability to meet service needs within service area. | Not applicable. The District did not identify any inability to meet service needs within its service area. |
| (36) | F-217: where an area-wide sewer, water, or transportation deficiency is identified, King County and applicable service providers shall remedy the deficiency through a joint planning process. | No area-wide water deficiency identified. |
| (37) | F-225: King County supports coordination of regional water supply planning, sales of excess water among municipalities, water quality programs, and water conservation and reuse programs. | The District has agreements with two of its neighboring communities for purchases of water for both primary supply (Seattle) and on an emergency basis (Mountlake Terrace). The District also wholesales water to the Fircrest State Facility. |
| (38) | F-226: Group A water systems must meet duty to serve requirement within service area as defined under CWSP or by individual water system plans. | Yes, the District is committed to meeting its duty to serve. Also see comments 4 and 5. |

| (39) | F-227-231: provides a hierarchy of water supply providers in unincorporated King County, depending on whether within UGA or rural areas, with preference for providing water from existing suppliers. | The District recognizes its duty to serve within its service area and is committed to providing water to all its customers within its service area by direct service. The District is willing to consider providing satellite management services to customers outside its service area, but to date it has not received any formal requests for such services. There are no other Class A public water systems within the service area of the District. |
| --- | --- | --- |
| (40) | F-237: King County supports the use of interties consistent with planning, and implementation of approved ESA and Clean Water Act (CWA) response requirements. | The District’s supply is through connection to SPU’s distribution system. The District also has an emergency intertie with Mountlake Terrace. |
| (41) | F-239: King County partners with utilities to encourage best management practices and conservation through such means as developing reclaimed water, aggressive water conservation and reuse measures; support planned land uses with reliable service at minimum cost; encourage reclaimed water use, focused on large water users such as golf courses and cemeteries. | King County is willing to work with the District on these issues, particularly the evaluation of reclaimed water opportunities. |
| (42) | F-240: Utilities Technical Review Committee (UTRC) to consider (a) consistency with land use plans and development regulations; (b) approved or adopted plans for ground water, ESA, salmon recovery, water resources, watershed planning, regional water supply plan; and (c) the Regional Wastewater Services Plan. | The UTRC did consider the given issues and recommends approval of the Plan. |
| (43) | F-241: in reviewing proposals for modified and expanded service area boundaries, UTRC must include an evaluation of the utility’s compliance with its comprehensive water system plan, including water conservation elements, and whether it can meet its duty to provide service; no approval of service area where unable to provide service for reasons in RCW 43.20.260. | The District is not changing its service area and really cannot expand as all surrounding areas are served by other purveyors. The Plan states that the District would likely only alter its service area boundaries through an agreement for another utility to relinquish a part of its service area. |
| (44) | F-243: public drinking water system reservoirs and watersheds should be managed primarily to protect drinking water supplies, but allow multiple uses when not jeopardizing water quality; downstream uses including recreation, fish, and agricultural resources. | Not applicable. The District’s storage facilities are tanks. |
| (45) | F-244: ground water supplies should be protected by preventing land uses that may adversely affect quantity or quality. | Not applicable. The District’s supplies come entirely from surface water sources. |