| May 11, 2010 |  |  | 1 |
| --- | --- | --- | --- |
|  | Sponsor: | Phillips |
| jg/bar |  |  |  |
|  | Proposed No.: | 2010-0152 |

STRIKING AMENDMENT TO PROPOSED ORDINANCE 2010-0152, VERSION 1

On page 1, beginning on line 4, strike everything through page 5, line 82, and insert:

"STATEMENT OF FACTS:

1.  Local governments have an essential role in addressing climate change and reducing greenhouse gas emissions.

2.  King County's Comprehensive Plan directs the county to seek to reduce greenhouse gas emissions from all facets of its operations and actions associated with construction and management of county owned facilities, investments in infrastructure, land use planning, transportation, and environmental protection programs.

3.  The combination of generally increasing energy costs and climate mitigation goals require that the county continuously increase its energy efficiency.

4.  The King County Comprehensive Plan calls on King County to work with utilities to become a model of energy efficiency in facilities owned or operated by King County.

5.  Equipment in county facilities that is powered by electricity or natural gas is a source of carbon emissions from county operations.

6.  Increasing the energy efficiency of powered equipment in county facilities will reduce the energy usage and thus the quantity of greenhouse gases released into the environment.

7.  Although there can be an additional cost to improving the efficiency of powered equipment, the additional project cost may be offset by financial incentives offered by utility companies or by the reduction in operating costs.

8.  Utility companies offer financial incentives for qualified design, materials and installation of equipment that will save energy.

9.  It is in the best interest of the county to take advantage of these financial incentive programs and partnerships with local utilities.

10.  The county's current capital improvement procedures would benefit from having mechanisms in place to ensure that the county is considering energy efficiency in designs where appropriate and taking advantage of all available utility incentives.

11.  King County would benefit from a coordinated approach for tracking all of the energy resource savings and utility grants and rebates received for capital improvement projects.

12.  Promoting increased energy efficiency in the county’s capital improvement projects can encourage new energy technologies and green jobs that support a sustainable economy and energy independence.

BE IT ORDAINED BY THE COUNCIL OF KING COUNTY:

SECTION 1.  The intent of this ordinance is to develop a more coordinated, strategic approach to energy-efficiency investments.

NEW SECTION.  SECTION 2.  There is hereby added to K.C.C. chapter 4.16 a new section to read as follows:

A.  This section applies to new construction, remodeling and energy-saving performance contracts, equipment retrofits and replacement projects initiated after the effective date of this ordinance.

B.  For the purposes of this section, "incremental project cost" means the additional cost, if any, in design, procurement, and construction and long term maintenance for achieving a reduction in energy usage  greater than the reduction that would be achieved under existing building code requirements.

C.  For all capital improvement projects that include at least two hundred fifty thousand dollars of costs for powered equipment and for which reasonable alternatives appear to be available for reducing energy usage by at least ten percent below existing building code requirements, the county shall require the designer or the energy performance contractor to develop a written energy efficiency analysis to be delivered to the project manager prior to the completion of the project’s design.  The analysis shall include, at a minimum:

1.  Options to achieve a reduction in energy usage of at least ten percent below levels that would be achieved under existing building code requirements;

2.  Identification of all available financial incentives from utility companies for achieving a reduction in energy usage; and

3.  A financial analysis of the incremental project cost for the energy reduction based on a life-cycle cost analysis that calculates net present value of the incremental cost, net of any financial incentives from utilities or other outside sources, and the operational and utility savings for a period of not more than fifteen years, unless specifically justified by the attributes of the project.

D.  The project manager shall consider the financial analysis and life-cycle cost analysis in the selection of the alternative under subsection C. of this section, with a goal of selecting the alternative for which the life-cycle cost analysis of the incremental project cost demonstrates that there would not be an additional cost to the county to achieve the reduction in energy usage.

E.  For a project under subsection C. of this section, where financial incentives from a utility are available and the county has decided to pursue the incentive, the project manager shall be responsible for ensuring completion of all requirements of the utility's incentive program.

F.  For a project under subsection C. of this section, upon the expiration of the project's construction warranty period the project manager shall report the energy reduction achieved as a result of the project and the total rebates and grants received from utilities or other parties as compared to the projected outcomes in energy usage and financial incentives identified in the financial analysis required in section subsection C.3. of this section.  After the initial report, the project's actual versus projected energy usage shall be monitored for at least three years, using the county's energy accounting software or other measurement tools as appropriate based on the size and complexity of the project.  The executive shall adopt written procedures outlining the methodology and process by which a project manager reports on the energy reduction achieved as a result of the project and the annual monitoring of energy reduction.  The procedures shall include a process for identifying those projects that include at least two hundred fifty thousand dollars of costs for powered equipment, but for which reasonable alternatives appear to be unavailable for reducing energy usage by at least ten percent below existing building code requirements. The procedures shall include a reporting mechanism by which the data in subsection 2.F. is compiled, summarized and transmitted to the council.

SECTION 3.  The procedures adopted under section 2.F. of this ordinance shall be transmitted by the executive to the council by July 1, 2010, in the form of a paper original and an electronic copy filed with the clerk of the council, who shall retain the original and provide an electronic copy to all councilmembers and the to the committee coordinator for the environment and transportation committee or its successor."

EFFECT: The wording is changed throughout the striker to make it consistent with commonly used terminolgy and practices for this issue. The striking amendment also clarifies which CIP projects are affected, make changes to reporting requirements and establishes a goal of selecting the alternative that does not involve an additional cost to the county based on the life-cycle cost analysis.